## Daily Report (hidden)
BWSI - CLPI BRANCHES, INC. - SAN LIS BRANCH
COMPARATIVE MONTHLY REPORT AS OF APRIL 2019
|  |  | UNIT | DAY 1 | DAY 2 | DAY 3 | DAY 4 | DAY 5 | DAY 6 | DAY 7 | DAY 8 | DAY 9 | DAY 10 | DAY 11 | DAY 12 | DAY 13 | DAY 14 | DAY 15 | DAY 16 | DAY 17 | DAY 18 | DAY 19 | DAY 20 | DAY 21 | DAY 22 | DAY 23 | DAY 24 | DAY 25 | DAY 26 | DAY 27 | DAY 28 | DAY 29 | DAY 30 | DAY 31
A. | MARKET GROWTH AND CUSTOMER SERVICE
A.1 |  | Total Brgys in Franchise Area / Total Economically Feasible Brgys | Brgy
A.2 |  | Total Brgys with Pipe Network | Brgy
A.3 |  | Total HH Population in Brgys with Pipe Network | HH
A.4 |  | Percentage of Service Coverage | %
A.5 |  | Total Billed Customers | Customer
A.6 |  | Total Unbilled Customers | Customer
A.7 |  | Beginning Balance | Customer
A.8 | + | New Applications | Customer
A.9 | = | Subtotal | Customer
A.10 | - | Disconnections | Customer
A.11 | = | Total Customers | Customer
A.12 |  | Services Rendered | Customer
A.13 |  | Pending Customers | Customer
A.14 |  | Total JO Accomplished / Unaccomplished for Quality Issues | JO
A.15 |  | Total JO Accomplished / Unaccomplished for Availability Issues | JO
A.16 |  | Total JO Accomplished / Unaccomplished for Pressure Issues | JO
A.17 |  | Total JO Accomplished / Unaccomplished for Other Issues | JO
A.17 |  | Total JO for Delayed Response - Due to Customers / Due to Branch | JO
A.19 |  | 1st Meter Reading Day of the Month / 1st Billing Day of the Month | Date
B. | WATER SUPPLY
B.1 |  | No. of Pumps | Pump
B.2 |  | No. of Operating Days in Month | Day
B.3 |  | Total Operating Hours for All Pumps | Hour
B.4 |  | Ave. Operating Hours Per Day | Hour
B.5 |  | PSI Range from Source (Lowest and Highest) | PSI
B.6 |  | Ave. PSI Range from Source (Lowest and Highest) | PSI
B.7 |  | PSI Range from Distribution Network (Lowest and Highest) | PSI
B.8 |  | Ave. PSI Range from Distribution Network (Lowest and Highest) | PSI
B.9 |  | Total Production Output from All Pumps (including Pump Drain) | Cum
B.10 | + | Total Bulk Water Bought / Price Per Cum of Bulk Water | Cum
B.11 | = | Total Water Supply Available for Consumption | Cum
B.12 |  | Ave. Daily Production | Cum
B.13 |  | Monthly Bacti Test of Pumps: Total Passed / Total Failed | Test
B.14 |  | Annual P-Chem of Pumps: Total Passed / Total Failed | Test
B.15 |  | No. of Repairs and Maintenance or Overhauls during Month | Repair
B.16 |  | Total Cost of Repairs and Maintenance for Pumps Only | Peso
C. | ELECTRICAL CONSUMPTION
C.1 |  | No. of Electric Billing Days | Day
C.2 |  | Total Electric Consumption for All Pumps | KWH
C.3 |  | Total Electric Bill for All Pumps | Peso
C.4 |  | Cost per KWH | KWH
C.5 |  | Electric Cost per Cubic Meter | Peso
C.6 |  | No. of Generator Sets | Unit
C.7 |  | Total No. of Hours of Power Outage | Hour
C.8 |  | Total Production during Power Outage | Cum
C.9 |  | Total Cost of Diesel Spent during Power Outage | Peso
C.10 |  | Cost of Diesel per Cubic Meter | Peso
C.11 |  | Total Cost of Repairs and Maintenance for Genset Only | Peso
D. | CUSTOMERS CONSUMPTION
D.1 |  | Total Residential Consumption | Cum
D.2 | + | Total Commercial Consumption | Cum
D.3 | = | Total Billed Volume from Residential & Commercial Sales | Cum
D.4 | + | Volume of Bulk Water Sales / Selling Price per Cum | Cum / Peso
D.5 | + | Volume of Lorry Sales / Selling Price | Cum / Peso
D.6 | + | Volume of Industrial Sales / Ave. Selling Price per Cum | Cum / Peso
D.7 | = | Total Volume of Water Sold | Cum
D.8 |  | Ave. Consumption per Customer (Residential & Commercial Only) | Cum
D.9 |  | Ave. Conumption per Customer per Day (Residential & Com Only) | Cum
D.10 |  | Ave. Price per Cubic Meter (Residential & Commercial Only) | Peso
D.11 |  | Ave. Monthly Water Bill (Residential & Commercial Only) | Peso
E. | WATER BALANCE
E.1 |  | Revenue Water | Cum
E.2 |  | Unbilled Metered Consumption | Cum
E.3 | + | Unbilled Unmetered Consumption | Cum
E.4 | + | Unauthorized Consumption | Cum
E.5 | + | Metering Inacuracies | Cum
E.6 | + | Accounted Leakage | Cum
E.7 | + | Unaccounted Leakage | Cum
E.8 | = | Total Non-Revenue Water | Cum
E.9 |  | Percent of Non-Revenue Water | %
E.10 |  | Percentage of Line Loss | %
E.11 |  | Total No. of Pipe Bursts | Burst
E.12 |  | Repairs and Maintenance Cost (Mainline & Service Connections) | Peso
E.13 |  | Adjustments to Previous Month's Customer Consumption (Overage) | Cum
E.14 |  | Consumption of Unbilled Customers | Cum
F. | INCOME STATEMENT
F.1 |  | Income from Water Services - Residential | Peso
F.2 | + | Income from Water Services - Commercial | Peso
F.3 | + | Income from Water Services - Bulk Water | Peso
F.4 | + | Income from Water Services - Lorry | Peso
F.5 | + | Income from Water Services - Others | Peso
F.6 | + | Income from Plumbing Services | Peso
F.7 | + | Income from Plumbing Materials | Peso
F.8 | + | Other Income | Peso
F.9 | - | Sales Discount | Peso
F.10 | = | Gross Revenue | Peso
F.11 | - | Engineering and Operating Expenses | Peso
F.12 | = | Gross Profit | Peso
F.13 | - | General and Admin Expenses | Peso
F.14 | = | Income from Operations | Peso
F.15 |  | Gross Profit Margin (GPM) | %
F.16 |  | Income from Operations Margin (IOM) | %
G. | BALANCE SHEET
G.1 |  | Total Collections for the Day | Peso
G.2 | + | Aging of A/R - 1 to 30 Days | Peso
G.3 | + | Aging of A/R - 31 to 60 Days | Peso
G.4 | + | Aging of A/R - 61 to 90 Days | Peso
G.5 | + | Aging of A/R - 90 Days and Over | Peso
G.6 | = | Total Aging of Accounts Receivables | Peso
G.7 |  | Past Due Rate | %
G.8 |  | A/R - Disconnected | Peso
G.9 |  | Materials and Supplies Inventory | Peso
G.10 |  | Net Book Value of PPE | Peso
G.11 |  | Guaranty Deposit - Active | Peso
G.12 |  | Guaranty Deposit - Disconnected | Peso
H. | DERIVED QUICK RATIOS
H.1 |  | Production Cost per Cubic Meter | Peso
H.2 |  | Customer Maintenance Cost per Cubic Meter | Peso
H.3 |  | Total Cost per Cubic Meter | Peso
H.4 |  | Return on Fixed Asset | %
H.5 |  | Total Cost of NRW based on Total Cost per Cubic Meter | Peso
H.6 |  | Total Cost of Line Loss based on Ave. Price per Cubic Meter | Peso

## Formulas (hidden)
NAME OF BRANCH
COMPARATIVE MONTHLY REPORT AS OF ______________________
|  |  | UNIT | SOURCE DOCUMENTS | FORMULA / REMARKS
A. | MARKET GROWTH AND CUSTOMER SERVICE
A.1 |  | Total Brgys in Franchise Area / Total Economically Feasible Brgys | Brgy | Municipal Records | Economic feasibility of a barangay is a judgment call by the Branch Manager
A.2 |  | Total Brgys with Pipe Network | Brgy | Branch Records
A.3 |  | Total HH Population in Brgys with Pipe Network | HH | Municipal Records
A.4 |  | Percentage of Service Coverage | % | Derived from CMR | Total HH Population in Brgys w Pipe Network (A.3) divided by Billed Customers (A.5)
A.5 |  | Total Billed Customers | Customer | Billing Statistics | Total Billed Customers should include Residential and Commercial Customers only
A.6 |  | Total Unbilled Customers | Customer | Customer Service Records | Total Unbilled Customers should include Residential and Commercial Customers only
A.7 |  | Beginning Balance | Customer | Previous CMR
A.8 | + | New Applications | Customer | Customer Service Records | New Applications should include Residential and Commercial Customers Only
A.9 | = | Subtotal | Customer | Derived from CMR
A.10 | - | Disconnections | Customer | Customer Service Records | Disconnections should include Residential and Commercial Customers Only
A.11 | = | Total Customers | Customer | Derived from CMR
A.12 |  | Services Rendered | Customer | Customer Service Records
A.13 |  | Pending Customers | Customer | Customer Service Records
A.14 |  | Total JO Accomplished / Unaccomplished for Quality Issues | JO | Customer Service Records
A.15 |  | Total JO Accomplished / Unaccomplished for Availability Issues | JO | Customer Service Records
A.16 |  | Total JO Accomplished / Unaccomplished for Pressure Issues | JO | Customer Service Records
A.17 |  | Total JO Accomplished / Unaccomplished for Other Issues | JO | Customer Service Records
A.18 |  | Total JO for Delayed Response - Due to Customers / Due to Branch | JO | Customer Service Records | Activity is considered "delayed" if it has been pending for at least 7 days.
A.19 |  | 1st Meter Reading Day of the Month / 1st Billing Day of the Month | Date | Branch Records
B. | WATER SUPPLY
B.1 |  | No. of Pumps | Pump | Branch Records
B.2 |  | No. of Operating Days in Month | Day | Branch Records
B.3 |  | Total Operating Hours for All Pumps | Hour | Pump Operators Report | Sum of all Operating Hours of All Pumps
B.4 |  | Ave. Operating Hours Per Day | Hour | Pump Operators Report | [Total Operating Hours for All Pumps (B.4) / No. of Operating Days (B.2)] / No. of Pumps (B.1)
B.5 |  | PSI Range from Source (Lowest and Highest) | PSI | Pump Operators Report | Lowest PSI reading for the month / Highest PSI reading for the month from Source/s
B.6 |  | Ave. PSI Range from Source (Lowest and Highest) | PSI | Pump Operators Report | Get average of all lowest PSI / Get average of all highest PSI from Source/s
B.7 |  | PSI Range from Distribution Network (Lowest and Highest) | PSI | Pump Operators Report | Lowest PSI reading for the month / Highest PSI reading for the month from Distribution
B.8 |  | Ave. PSI Range from Distribution Network (Lowest and Highest) | PSI | Pump Operators Report | Get average of all lowest PSI / Get average of all highest PSI from Distribution Network
B.9 |  | Total Production Output from All Pumps | Cum | Pump Operators Report | Sum of all Flow Meter Readings of All Pumps for the Month
B.10 | + | Total Bulk Water Bought / Price Per Cum of Bulk Water | Cum | Billing from Supplier
B.11 | = | Total Water Supply Available for Consumption | Cum | Derived from CMR | Sum of Total Production Output from All Pumps (B.7) plus Bought Bulk Water (B.8)
B.12 |  | Ave. Production per Day | Cum | Derived from CMR | Total Water Supply Available (B.9) divided by No. Of Operating Days (B.2)
B.13 |  | Monthly Bacti Test of Pumps: Total Passed / Total Failed | Test | Lab Test Results | Test Results at Source
B.14 |  | Annual P-Chem of Pumps: Total Passed / Total Failed | Test | Lab Test Results | Test Results at Source. For P-Chem, even if one parameter only fails, considered Failed
B.15 |  | No. of Repairs and Maintenance or Overhauls during Month | Repair | Operations Supervisor
B.16 |  | Total Cost of Repairs and Maintenance for Pumps Only | Peso | Accounting
C. | ELECTRICAL CONSUMPTION
C.1 |  | No. of Electric Billing Days | Day | Electric Bill
C.2 |  | Total Electric Consumption for All Pumps | KWH | Electric Bill | Sum of all KWH readings of all pumps for the month
C.3 |  | Total Electric Bill for All Pumps | Peso | Electric Bill | Sum of all electric bills of all pumps for the month
C.4 |  | Cost per KWH | KWH | Derived from CMR | Total Electric Bill for all pumps (C.3) divided by Total Electric Consumption (C.2)
C.5 |  | Electric Cost per Cubic Meter | Peso | Derived from CMR | Total Electric Bill for all pumps (C.3) divided by Total Production Output All Pumps (B.7)
C.6 |  | No. of Generator Sets | Unit | Branch Records
C.7 |  | Total No. of Hours of Power Outage | Hour | Pump Operators Report
C.8 |  | Total Production during Power Outage | Cum | Pump Operators Report
C.9 |  | Total Cost of Diesel Spent during Power Outage | Peso | Accounting
C.10 |  | Cost of Diesel per Cubic Meter | Peso | Derived from CMR | Total Cost of Diesel (C.9) divided by Total Production during Power Outage (C.8)
C.11 |  | Total Cost of Repairs and Maintenance for Genset Only | Peso | Accounting
D. | CUSTOMERS CONSUMPTION
D.1 |  | Total Residential Consumption | Cum | Billing Statistics
D.2 | + | Total Commercial Consumption | Cum | Billing Statistics
D.3 | = | Total Billed Volume from Residential & Commercial Sales | Cum | Billing Statistics
D.4 | + | Volume of Bulk Water Sales / Selling Price per Cum | Cum / Peso | Pump Operators Report
D.5 | + | Volume of Lorry Sales / Selling Price | Cum / Peso | Pump Operators Report
D.6 | + | Volume of Industrial Sales / Ave. Selling Price per Cum | Cum / Peso | Pump Operators Report
D.7 | = | Total Volume of Water Sold | Cum | Derived from CMR
D.8 |  | Ave. Consumption per Customer (Residential & Commercial Only) | Cum | Derived from CMR | Total Billed Volume from Res & Com Sales (D.3) divided by Billed Customers (A.5)
D.9 |  | Ave. Consumption per Customer per Day (Residential & Com Only) | Cum | Derived from CMR | Ave. Consumption per Customer (D.8) divided by No. of Operating Days in Month (B.2)
D.10 |  | Ave. Price per Cubic Meter (Residential & Commercial Only) | Peso | Derived from CMR | Sum of Residential & Commercial Income (F.1+F.2) divided by Total Billed Volume (D.3)
D.11 |  | Ave. Monthly Water Bill (Residential & Commercial Only) | Peso | Derived from CMR | Sum of Residential & Commercial Income (F.1+F.2) divided by Billed Customers (A.5)
E. | WATER BALANCE
E.1 |  | Revenue Water | Cum | Billing Statistics
E.2 |  | Unbilled Metered Consumption | Cum | Water Balance
E.3 | + | Unbilled Unmetered Consumption | Cum | Water Balance
E.4 | + | Unauthorized Consumption | Cum | Water Balance
E.5 | + | Metering Inacuracies | Cum | Water Balance
E.6 | + | Accounted Leakage | Cum | Water Balance
E.7 | + | Unaccounted Leakage | Cum | Water Balance
E.8 | = | Total Non-Revenue Water | Cum | Water Balance
E.9 |  | Percentage of Non-Revenue Water | % | Water Balance | Total NRW (E.8) divided by Total Volume of Water Available for Consumption (B.9)
E.10 |  | Percentage of Line Loss | % | Derived from CMR | Unaccounted Leakage (E.7) divided by Total Water Supply Available (B.9)
E.11 |  | Total No. of Pipe Bursts | Burst | Operations Supervisor
E.12 |  | Repairs and Maintenance Cost (Mainline & Service Connections) | Peso | Accounting | Only include R&M costs in service connections that were shouldered by the company
E.13 |  | Adjustments to Previous Month's Customer Consumption (+/-) | Cum | Accounting | Indicate if Adjustment is higher or lower by putting a (+) or (-) sign
E.14 |  | Consumption of Unbilled Customers | Cum | CMRVR
F. | INCOME STATEMENT
F.1 |  | Income from Water Services - Residential | Peso | Income Statement
F.2 | + | Income from Water Services - Commercial | Peso | Income Statement
F.3 | + | Income from Water Services - Bulk Water | Peso | Income Statement
F.4 | + | Income from Water Services - Lorry | Peso | Income Statement
F.5 | + | Income from Water Services - Others | Peso | Income Statement
F.6 | + | Income from Plumbing Services | Peso | Income Statement
F.7 | + | Income from Plumbing Materials | Peso | Income Statement
F.8 | + | Other Income | Peso | Income Statement
F.9 | - | Sales Discount | Peso | Income Statement
F.10 | = | Gross Revenue | Peso | Income Statement
F.11 | - | Engineering and Operating Expenses | Peso | Income Statement
F.12 | = | Gross Profit | Peso | Income Statement
F.13 | - | General and Admin Expenses | Peso | Income Statement
F.14 | = | Income from Operations | Peso | Income Statement
F.15 |  | Gross Profit Margin (GPM) | % | Income Statement | Gross Profit (F.11) divided by Gross Revenue (F.9)
F.16 |  | Income from Operations Margin (IOM) | % | Income Statement | Income from Operations (F.13) divided by Gross Revenue (F.9)
G. | BALANCE SHEET
G.1 |  | Total Collections for the Month | Peso | Balance Sheet
G.2 | + | Aging of A/R - 1 to 30 Days | Peso | Balance Sheet
G.3 | + | Aging of A/R - 31 to 60 Days | Peso | Balance Sheet
G.4 | + | Aging of A/R - 61 to 90 Days | Peso | Balance Sheet
G.5 | + | Aging of A/R - 90 Days and Over | Peso | Balance Sheet
G.6 | = | Total Aging of Accounts Receivables | Peso | Balance Sheet
G.7 |  | Past Due Rate | % | Balance Sheet
G.8 |  | A/R - Disconnected | Peso | Balance Sheet
G.9 |  | Materials and Supplies Inventory | Peso | Balance Sheet
G.10 |  | Net Book Value of PPE | Peso | Balance Sheet
G.11 |  | Guaranty Deposit - Active | Peso | Balance Sheet
G.12 |  | Guaranty Deposit - Disconnected | Peso | Balance Sheet
H. | DERIVED QUICK RATIOS
H.1 |  | Production Cost per Cubic Meter | Peso | Derived from CMR | Engineering & Operating Expenses (F.10) divided by Total Water Supply Available (B.9)
H.2 |  | Customer Maintenance Cost per Cubic Meter | Peso | Derived from CMR | General & Admin Expenses (F.12) divided by Total Volume of Water Sold (D.7)
H.3 |  | Total Cost per Cubic Meter | Peso | Derived from CMR | Sum of E&O and G&A Expenses (F.10+F.12) divided by Total Water Supply (B.9)
H.4 |  | Return on Fixed Asset | % | Derived from CMR | Income from Operations (F.13) divided by Net Book Value of PPE
H.5 |  | Total Cost of NRW based on Total Cost per Cubic Meter | Peso | Derived from CMR | Total NRW (E.9) multiplied by Total Cost per Cubic Meter (H.3)
H.6 |  | Total Cost of Line Loss based on Ave. Price per Cubic Meter | Peso | Derived from CMR | Total Unaccounted Leakage (E.7) multiplied by Ave. Price per Cubic Meter (D.9)

## bulk water (hidden)
San Simon
Date | SALE |  |  | Date | BOUGHT
| Present |  |  |  | Present
| 146417 | 142895 | 3522 |  | 37290 | 34442 | 2848
| 150009 | 146417 | 3592 |  | 40643 | 37290 | 3353
| 151647 | 150009 | 1638
| 152335 | 151647 | 688
10/31/2019 | 155714 | 152335 | 3379
11/29/2019 | 157870 | 155714 | 2156
2020-02-01 | 163017 | 157870 | 5147
2020-04-02 | 167275 | 163017 | 4258
2020-03-03 | 168873 | 167275 | 1598
2020-04-02 | 170057 | 168873 | 1184
[8 empty] | -10329.19 | 44670.81
8279.19
52950
2050

## Water Balance
BCBI-SAN LUIS
JULY 2020
Billed Metered Consumption
|  | Billed Authorized | 178468 | Revenue
|  | Consumption | 87.77% | Water
|  | 178468 | Billed Unmetered Consumption | 178468
| Authorized | 87.77% | 0 | 87.77%
| Consumption |  | 0%
| 178700.15 |  | Unbilled Metered Consumption
| 87.88% | Unbilled Authorized | 183
|  | Consumption | 0.09%
|  | 232.15 | Unbilled Unmetered Consumption
|  | 0.1142% | 49.15
SUPPLY |  |  | 0.02417%
203340.1928 |  |  | Unauthorized Consumption
|  | Commercial / | 0 | Non-Revenue
|  | Apparent Losses | 0% | Water
|  | 50 | Metering Inaccuracies | 24872.1928
| Water | 0.02459% | 50 | 12.23%
| Losses |  | 0.02459%
| 24640.0428 |  | Accounted Leakage
| 12.12% | Real /Physical | 336.1
|  | Losses | 0.1653%
|  | 24590.0428 | Unaccounted Leakage
|  | 12.09% | 24253.9428
11.93%

## CMR
SAN LUIS | [55 empty] | r | x
COMPARATIVE MONTHLY REPORT AS OF JULY 2020
|  |  | UNIT | DECEMBER |  | DECEMBER (main system) |  | DECEMBER (independent) |  | JANUARY |  | JANUARY (main system) |  | JANUARY (independent) |  | FEBRUARY |  | FEBRUARY (main system) |  | FEBRUARY (independent) |  | MARCH |  | MARCH (main system) |  | MARCH (independent) |  | APRIL |  | APRIL (main system) |  | APRIL (independent) |  | MAY |  | MAY (main system) |  | MAY (independent) |  | JUNE |  | JUNE (main system) |  | JUNE (independent) |  | JULY |  | JULY (main system) |  | JULY (independent) |  | INC (DEC) |  | PERCENT
A. | MARKET GROWTH AND CUSTOMER SERVICE
A.1 |  | Total Brgys in Franchise Area / Total Economically Feasible Brgys | Brgy | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 | 0 | 0 | 0% | 0%
A.2 |  | Total Brgys with Pipe Network | Brgy | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 17 |  | 13 |  | 4 |  | 0 |  | 0%
A.3 |  | Number of Linear Meters of Pipelines in the Distribution Network | lm | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 84452 |  | 0 |  | 0%
A.4 |  | Total HH Population in Brgys with Pipe Network | HH | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 11081 |  | 6544 |  | 4521 |  | 0 |  | 0%
A.5 |  | Percentage of Service Coverage | % | 79.29% |  | 85.37% |  | 70.63% |  | 79.47% |  | 85.74% |  | 70.67% |  | 79.66% |  | 86.08% |  | 70.65% |  | 79.83% |  | 86.14% |  | 70.67% |  | 79.82% |  | 86.35% |  | 70.65% |  | 80.05% |  | 86.61% |  | 70.83% |  | 80.34% |  | 87% |  | 71% |  | 80.62% |  | 87.21% |  | 71.38% |  | 0.0027976 |  | 0.3482%
A.6 |  | Total Billed Customers | Customer | 8786 |  | 5440 |  | 3193 |  | 8806 |  | 5611 |  | 3195 |  | 8827 |  | 5633 |  | 3194 |  | 8846 |  | 5651 |  | 3195 |  | 8845 |  | 5651 |  | 3194 |  | 8870 |  | 5668 |  | 3202 |  | 8903 |  | 5693 |  | 3210 |  | 8934 |  | 5707 |  | 3227 |  | 31 |  | 0.3482%
A.7 |  | Total Unbilled Customers | Customer | 3 |  | 2 |  | 1 |  | 14 |  | 11 |  | 3 |  | 8 |  | 7 |  | 1 |  | 0 |  | 0 |  | 0 |  | 3 |  | 2 |  | 1 |  | 6 |  | 4 |  | 2 |  | 11 |  | 1 |  | 10 |  | 10 |  | 5 |  | 5 |  | -1 |  | -9.091%
A.8 |  | Beginning Balance | Customer | 8776 |  | 5585 |  | 3191 |  | 8793 |  | 5595 |  | 3198 |  | 8822 |  | 5622 |  | 3200 |  | 8837 |  | 5640 |  | 3197 |  | 8849 |  | 5652 |  | 3197 |  | 8851 |  | 5654 |  | 3197 |  | 8880 |  | 5673 |  | 3207 |  | 8916 |  | 5694 |  | 3222 |  | 36 |  | 0.4054%
A.9 | + | New Applications | Customer | 30 |  | 19 |  | 11 |  | 42 |  | 32 |  | 10 |  | 29 |  | 22 |  | 7 |  | 18 |  | 14 |  | 4 |  | 12 |  | 9 |  | 3 |  | 31 |  | 19 |  | 12 |  | 42 |  | 23 |  | 19 |  | 43 |  | 23 |  | 20 |  | 1 |  | 2.381%
A.10 | = | Subtotal | Customer | 8806 |  | 5444 |  | 3202 |  | 8835 |  | 5627 |  | 3208 |  | 8851 |  | 5644 |  | 3207 |  | 8855 |  | 5654 |  | 3201 |  | 8861 |  | 5661 |  | 3200 |  | 8882 |  | 5673 |  | 3209 |  | 8922 |  | 5696 |  | 3226 |  | 8959 |  | 5717 |  | 3242 |  | 37 |  | 0.4147%
A.11 | - | Disconnections | Customer | 13 |  | 9 |  | 4 |  | 13 |  | 5 |  | 8 |  | 14 |  | 4 |  | 10 |  | 6 |  | 2 |  | 4 |  | 10 |  | 7 |  | 3 |  | 2 |  | 0 |  | 2 |  | 6 |  | 2 |  | 4 |  | 10 |  | 5 |  | 5 |  | 4 |  | 66.67%
A.12 | = | Total Customers | Customer | 8793 |  | 5595 |  | 3198 |  | 8822 |  | 5622 |  | 3200 |  | 8837 |  | 5640 |  | 3197 |  | 8849 |  | 5652 |  | 3197 |  | 8851 |  | 5654 |  | 3197 |  | 8880 |  | 5673 |  | 3207 |  | 8916 |  | 5694 |  | 3222 |  | 8949 |  | 5712 |  | 3237 |  | 33 |  | 0.3701%
A.13 |  | Services Rendered | Customer | 28 |  | 16 |  | 12 |  | 29 |  | 24 |  | 5 |  | 21 |  | 23 |  | 6 |  | 17 |  | 13 |  | 4 |  | 12 |  | 9 |  | 3 |  | 28 |  | 17 |  | 11 |  | 44 |  | 30 |  | 14 |  | 40 |  | 20 |  | 20 |  | -4 |  | -9.091%
A.14 |  | Pending Customers | Customer | 4 |  | 0 |  | 4 |  | 2 |  | 0 |  | 2 |  | 2 |  | 0 |  | 2 |  | 3 |  | 1 |  | 2 |  | 3 |  | 1 |  | 2 |  | 4 |  | 1 |  | 3 |  | 2 |  |  |  | 2 |  | 5 |  | 0 |  | 5 |  | 3 |  | 150%
A.15 |  | 1st Meter Reading Day of the Month / 1st Billing Day of the Month | Date | Jan 2 | Jan 6 | Nov 28 | Dec 3 | Nov 28 | Dec 3 | Feb 3 | Feb 6 | Feb 3 | Feb 6 | Feb 3 | Feb 6 | Mar 2 | Mar 5 | Mar 2 | Mar 5 | Mar 2 | Mar 5 | Apr 2 | Apr 6 | Apr 2 | Apr 6 | Apr 2 | Apr 6 | Apr 30 | May 2 | Apr 30 | May 2 | Apr 30 | May 2 | Apr 30 | June 4 | Apr 30 | May 2 | Apr 30 | May 2 | Jul 1 | Jul 4 | Jul 1 | Jul 4 | Jul 1 | Jul 4 | Jul 1 | Jul 4 | Jul 1 | Jul 4 | Jul 1 | Jul 4
B. | CUSTOMER SATISFACTION
B.1 |  | No. of Books / Customer of With Persistent Water Quality Problems | Book / Customer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
B.2 |  | No. of Customers with Isolated Persistent Water Quality Problems | Customer | 15 |  | 4 |  | 11 |  | 15 |  | 2 |  | 13 |  | 4 |  | 1 |  | 3 |  | 13 |  | 3 |  | 8 |  | 0 |  | 0 |  | 0 |  | 7 |  | 5 |  | 2 |  | 6 |  | 6 |  | 0 |  | 1 |  | 0 |  | 1 |  | -5 |  | -0.83333
B.3 |  | No. of Books / Customers with 24 hrs (min 10/16 psi) of Water Supply | Book / Customer | 31 | 5812 | 20 | 3393 | 11 | 2424 | 31 | 5822 | 20 | 3397 | 11 | 2425 | 31 | 5839 | 20 | 3592 | 11 | 2247 | 27 | 5853 | 17 | 3425 | 10 | 2428 | 27 | 5852 | 17 | 3425 | 10 | 2427 | 27 | 5871 | 17 | 3438 | 10 | 2433 | 27 | 5894 | 17 | 3454 | 10 | 2440 | 28 | 4493 | 16 | 1865 | 12 | 2628 | 1 | -1401 | 3.704% | -23.77%
B.4 |  | No. of Books/Customers with 20 to <24 hours of Water Supply | Book / Customer | 6 | 2698 | 3 | 1931 | 3 | 769 | 6 | 2708 | 3 | 1938 | 3 | 770 | 6 | 2712 | 3 | 1945 | 3 | 767 | 8 | 2272 | 5 | 1505 | 3 | 767 | 7 | 1851 | 5 | 1505 | 2 | 346 | 7 | 1855 | 5 | 1506 | 2 | 349 | 7 | 1845 | 5 | 1494 | 2 | 351 | 7 | 2112 | 5 | 1513 | 2 | 599 | 0 | 267 | 0% | 14.47%
B.5 |  | No. of Customers with 12 to <20 hours of Water Supply | Book / Customer | 3 | 276 | 3 | 276 | 0 | 0 | 3 | 276 | 3 | 276 | 0 | 0 | 3 | 276 | 3 | 276 | 0 | 0 | 5 | 721 | 5 | 721 | 0 | 0 | 6 | 1142 | 5 | 721 | 1 | 421 | 6 | 1144 | 5 | 724 | 1 | 420 | 6 | 1148 | 5 | 729 | 1 | 419 | 5 | 729 | 5 | 729 | 0 | 0 | -1 | -419 | -16.67% | -36.5%
B.6 |  | No. of Customers with less than 12 hours of Water Supply | Book / Customer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
B.7 |  | No. of Books/Customers with above 16 psi at peak hours | Book / Customer | 23 | 4930 | 12 | 2511 | 11 | 2424 | 23 | 4939 | 12 | 2514 | 11 | 2425 | 23 | 4953 | 12 | 2526 | 11 | 2427 | 23 | 4966 | 12 | 2538 | 11 | 2428 | 23 | 4965 | 12 | 2538 | 11 | 2427 | 23 | 4982 | 12 | 2549 | 11 | 2433 | 23 | 5001 | 12 | 2561 | 11 | 2440 | 23 | 5026 | 12 | 2571 | 11 | 2455 | 0 | 25 | 0% | 0.4999%
B.8 |  | No. of Customers with 16 psi peak hours | Book / Customer | 2 | 275 | 2 | 275 | 0 | 0 | 2 | 275 | 2 | 275 | 0 | 0 | 2 | 276 | 2 | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0!
B.9 |  | No. of Customers with 10 psi to <16 psi at peak hours | Book / Customer | 2 | 447 | 2 | 447 | 0 | 0 | 2 | 448 | 2 | 448 | 0 | 0 | 2 | 450 | 2 | 450 | 0 | 0 | 4 | 887 | 4 | 887 | 0 | 0 | 4 | 887 | 4 | 887 | 0 | 0 | 5 | 1045 | 4 | 889 | 1 | 172 | 5 | 1066 | 4 | 893 | 1 | 173 | 5 | 1067 | 4 | 894 | 1 | 173 | 0 | 1 | 0% | 0.09381%
B.10 |  | Number of Customers with below 10 psi at peak hours | Book / Customer | 13 | 2974 | 10 | 2207 | 3 | 769 | 13 | 2984 | 10 | 2214 | 3 | 770 | 13 | 2988 | 10 | 2221 | 3 | 767 | 13 | 2993 | 10 | 2226 | 3 | 767 | 13 | 2993 | 10 | 767 | 3 | 2226 | 12 | 2827 | 10 | 2230 | 2 | 597 | 12 | 2836 | 10 | 2239 | 2 | 597 | 12 | 2841 | 10 | 2242 | 2 | 599 | 0 | 5 | 0% | 0.1763%
C. | WATER SUPPLY
C.1 |  | No. of Pumps | Pump | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 6 |  | 4 |  | 2 |  | 0 |  | 0%
C.2.A |  | Pump 1: Free Flow GPM / Description of Water Quality (San Roque/678 gpm/4/24/19 40HP Motor, 30 HP Pump) | GPM | 579 | clear/odorless |  |  | 579 | clear/odorless | 449 | clear/odorless |  |  | 449 | clear/odorless | 638 | clear/odorless |  |  | 638 | clear/odorless | 669.72 | clear/odorless |  |  | 669.72 | clear/odorless | 665 | clear/odorless |  |  | 665 | clear/odorless | 650 | clear/odorless |  |  | 650 | clear/odorless | 610 | clear/odorless |  |  | 610 | clear/odorless | 620 | clear/odorless |  |  | 620 | clear/odorless | -58 |  | -9.508%
C.2.B |  | Pump 2: Free Flow GPM / Description of Water Quality (San Juan/395gpm/7/23/15 20HP) | GPM | 354 | sandy | 354 | sandy |  |  | 347 | sandy | 347 | sandy |  |  | 330 | sandy | 330 | sandy |  |  | 368.6 | sandy | 368.6 | sandy |  |  | 372 | sandy | 372 | sandy |  |  | 382 | sandy | 382 | sandy |  |  | 347 | sandy | 347 | sandy |  |  | 380 | sandy |  | sandy |  |  | -15 |  | -4.323%
C.2.C |  | Pump 3: Free Flow GPM / Description of Water Quality (Sto. Tomas/624/7/30/13 40HP) | GPM | 570 | clear/odorless | 570 | clear/odorless |  |  | 441 | clear/odorless | 441 | clear/odorless |  |  | 598 | clear/odorless | 598 | clear/odorless |  |  | 594.38 | clear/odorless | 594.38 | clear/odorless |  |  | 598 | clear/odorless | 598 | clear/odorless |  |  | 458 | clear/odorless | 458 | clear/odorless |  |  | 602 | clear/odorless | 602 | clear/odorless |  |  | 630 | clear/odorless | 630 | clear/odorless |  |  | 6 |  | 0.9967%
C.2.D |  | Pump 4: Free Flow GPM / Description of Water Quality (Sto. Nino/423/10/31/19 30HP) | GPM | 412 | clear/odorless |  |  | 412 | clear/odorless | 432 | clear/odorless |  |  | 432 | clear/odorless | 419 | clear/odorless |  |  | 419 | clear/odorless | 399.58 | clear/odorless |  |  | 399.58 | clear/odorless | 410 | clear/odorless |  |  | 410 | clear/odorless | 440 | clear/odorless |  |  | 440 | clear/odorless | 432 | clear/odorless |  |  | 432 | clear/odorless | 430 | clear/odorless |  |  | 430 | clear/odorless | 7 |  | 1.62%
C.2.E |  | Pump 5: Free Flow GPM / Description of Water Quality (Sta. Monica/400/6/10/16 40HP) | GPM | 435 | clear/odorless | 435 | clear/odorless |  |  | 485 | clear/odorless | 485 | clear/odorless |  |  | 405 | clear/odorless | 405 | clear/odorless |  |  | 413.48 | clear/odorless | 413.48 | clear/odorless |  |  | 405 | clear/odorless | 406 | clear/odorless |  |  | 410 | clear/odorless | 410 | clear/odorless |  |  | 488 | clear/odorless | 488 | clear/odorless |  |  | 480 | clear/odorless | 480 | clear/odorless |  |  | 80 |  | 16.39%
C.2.F |  | Pump 6: Free Flow GPM/ Description of Water Quality (Sto. Rosario/350gpm/4/28/18 20HP) | GPM | 264 | clear/odorless | 264 | clear/odorless |  |  | 394 | clear/odorless | 394 | clear/odorless |  |  | 324 | clear/odorless | 324 | clear/odorless |  |  | 281.36 | clear/odorless | 281.36 | clear/odorless |  |  | 281.36 | clear/odorless | 286 | clear/odorless |  |  | 330 | clear/odorless | 330 | clear/odorless |  |  | 279 | clear/odorless | 279 | clear/odorless |  |  | 280 | clear/odorless | 280 | clear/odorless |  |  | -70 |  | -25.09%
C.3 |  | No. of Operating Days in Month | Day | 35 |  | 35 |  | 35 |  | 32 |  | 32 |  | 32 |  | 28 |  | 28 |  | 28 |  | 30 |  | 30 |  | 30 |  | 28 |  | 28 |  | 28 |  | 33 |  | 33 |  | 33 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 0 |  | 0%
C.4 |  | Total Operating Hours for All Pumps | Hour | 3964.54 |  | 2877.45 |  | 1281.14 |  | 3441.43 |  | 2304.92 |  | 1136.51 |  | 3162.9 |  | 2173.75 |  | 989.15 |  | 3504.01 |  | 2417.59 |  | 1086 |  | 3317.15 |  | 2299.98 |  | 1017.17 |  | 4003.11 |  | 2753.6 |  | 1249.51 |  | 3589.4 |  | 2502.44 |  | 1086.96 |  | 3539.24 |  | 2474.27 |  | 1064.97 |  | -50.16 |  | -1.397%
C.5 |  | Ave. Operating Hours Per Day | Hour | 18.8787 |  | 20.5532 |  | 18.302 |  | 17.9241 |  | 18.0072 |  | 17.758 |  | 18.8268 |  | 19.4085 |  | 17.6634 |  | 19.4667 |  | 20.1466 |  | 18.1 |  | 19.7449 |  | 20.5355 |  | 18.1638 |  | 20.2177 |  | 20.8606 |  | 18.932 |  | 19.9411 |  | 20.8537 |  | 18.116 |  | 19.6624 |  | 20.6189 |  | 17.7495 |  | -0.27867 |  | -1.397%
C.6 |  | PSI Range from Source (Lowest and Highest) | PSI | 8 | 120 | 8 | 120 | 8 | 120 | 20 | 120 |  |  |  |  | 18 | 120 | 18 | 120 | 18 | 120 | 20 | 120 | 20 | 120 | 20 | 120 | 18 | 120 | 18 | 120 | 18 | 120 | 20 | 120 | 20 | 120 | 20 | 120 | 18 | 120 | 18 | 120 | 18 | 120 | 18 | 120 | 18 | 120 | 18 | 120 | 0 | 0 | 0% | 0%
C.7 |  | Ave. PSI Range from Source (Lowest and Highest) | PSI | 40 | 91 | 40 | 91 | 40 | 91 | 42 | 92 |  |  |  |  | 40 | 94 | 40 | 94 | 40 | 94 | 38 | 94 | 38 | 94 | 38 | 94 | 36 | 90 | 36 | 90 | 36 | 90 | 38 | 90 | 38 | 90 | 38 | 90 | 36 | 90 | 36 | 90 | 36 | 90 | 31 | 83 | 31 | 83 | 31 | 83 | -5 | -7 | -13.89% | -7.778%
C.10 |  | Total Production Output from All Pumps (including Pump Drain) | Cum | 215318 |  | 137519 |  | 77799 |  | 197873.1288 |  | 127514.5329 |  | 70358.5959 |  | 172685.02 |  | 131849.0103 |  | 71491.1826 |  | 203952.8474 |  | 128951.7159 |  | 75001.1315 |  | 194522.3931 |  | 123320.3931 |  | 72802 |  | 234939.23 |  | 143721.2 |  | 91218.03 |  | 210644.69 |  | 134468.87 |  | 76441 |  | 203340 |  | 134791.01 |  | 73246.18 |  | -7304.69 |  | -3.468%
C.11 | + | Total Bulk Water Bought / Price Per Cum of Bulk Water | Cum/Peso | 51 | 9 |  | 9 | 51 | 9 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 0 | #DIV/0! | 0%
C.12 | = | Total Water Supply Available for Consumption | Cum | 215369 |  | 137519 |  | 77850 |  | 197873.1288 |  | 127514.5329 |  | 70358.5959 |  | 172685.02 |  | 131849.0103 |  | 71491.1826 |  | 203952.8474 |  | 128951.7159 |  | 75001.1315 |  | 194522.3931 |  | 123320.3931 |  | 72802 |  | 234939.23 |  | 143721.2 |  | 91218.03 |  | 210644.69 |  | 134468.87 |  | 76441 |  | 203340 |  | 134791.01 |  | 73246.18 |  | -7304.69 |  | -3.468%
C.13 |  | Ave. Daily Production | Cum | 4553.4 |  | 3929.1143 |  | 2224.2857 |  | 6183.5353 |  | 3984.8292 |  | 2198.7061 |  | 6167.3221 |  | 4708.8932 |  | 2553.2565 |  | 6798.4282 |  | 4298.3905 |  | 2500.0377 |  | 6947.2283 |  | 4404.2998 |  | 2600.0714 |  | 7119.3706 |  | 4355.1879 |  | 2764.1827 |  | 7021.4897 |  | 4482.2957 |  | 2548.0333 |  | 6778 |  | 4493.0337 |  | 2441.5393 |  | -243.4897 |  | -3.468%
C.14 |  | Monthly Bacti Test of Pumps: Total Passed / Total Failed | Test | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0% | #DIV/0!
C.15 |  | Annual P-Chem of Pumps: Total Passed / Total Failed | Test | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 6 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 0% | #DIV/0!
C.16 |  | No. of Repairs and Maintenance or Overhauls during Month | Repair | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #DIV/0!
C.17 |  | Total Cost of Repairs and Maintenance for Pumps Only | Peso | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #DIV/0!
D. | WATER BALANCE
D.1 |  | Revenue Water | Cum | 194558 |  | 122968 |  | 73190 |  | 177859 |  | 112101 |  | 65758 |  | 153759 |  | 97392 |  | 56367 |  | 184455 |  | 116980 |  | 69075 |  | 171546 |  | 106634 |  | 64912 |  | 212921 |  | 132337 |  | 80584 |  | 186956 |  | 116392 |  | 70564 |  | 178468 |  | 110090 |  | 68378 |  | -8488 |  | -4.54%
D.2 |  | Unbilled Metered Consumption | Cum | 135 |  | 111 |  | 24 |  | 191 |  | 157 |  | 34 |  | 209 |  | 162 |  | 47 |  | 219 |  | 172 |  | 47 |  | 189 |  | 150 |  | 39 |  | 31 |  | 25 |  | 6 |  | 200 |  | 163 |  | 37 |  | 183 |  | 155 |  | 28 |  | -17 |  | -8.5%
D.3 | + | Unbilled Unmetered Consumption | Cum | 730 |  | 403 |  | 327 |  | 1140.9788 |  | 719.3829 |  | 421.5959 |  | 862.01 |  | 440.1 |  | 245.91 |  | 835.8374 |  | 437.3259 |  | 438.5115 |  | 991.2431 |  | 710.2431 |  | 321 |  | 675.493 |  | 326.2143 |  | 329.2787 |  | 814.7187 |  | 826.3885 |  | 28.3302 |  | 49.15 |  | 72.1 |  | 17.05 |  | -765.5687 |  | -93.97%
D.4 | + | Unauthorized Consumption | Cum | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #DIV/0!
D.5 | + | Metering Inacuracies | Cum | 192 |  | 172 |  | 20 |  | 426 |  | 401 |  | 25 |  | 173 |  | 130 |  | 43 |  | 195 |  | 98 |  | 97 |  | 345 |  | 334 |  | 11 |  | 187 |  | 125 |  | 62 |  | 294 |  | 244 |  | 50 |  | 50 |  | 33 |  | 17 |  | -244 |  | -82.99%
D.6 | + | Accounted Leakage | Cum | 241 |  | 56 |  | 185 |  | 122 |  | 71 |  | 51 |  | 115.99 |  | 84.03 |  | 31.96 |  | 75.46 |  | 32.51 |  | 42.95 |  | 197.42 |  | 105.03 |  | 92.39 |  | 268.63 |  | 81.42 |  | 187.21 |  | 383.994 |  | 157.1221 |  | 226.8719 |  | 336.1 |  | 155.4 |  | 180.7 |  | -47.894 |  | -12.47%
D.7 | + | Unaccounted Leakage | Cum | 17913 |  | 13809 |  | 4104 |  | 18134.15 |  | 14065.15 |  | 4069 |  | 17566.02 |  | 12744.16 |  | 4044.78 |  | 16572.55 |  | 11231.88 |  | 5300.67 |  | 22853.73 |  | 15387.12 |  | 7426.45 |  | 20856.11 |  | 10826.57 |  | 10049.54 |  | 22421.3086 |  | 16686.3574 |  | 5694.9511 |  | 24253.9428 |  | 21343.5103 |  | 2870.4326 |  | 1832.6343 |  | 8.174%
D.8 | = | Total Non-Revenue Water | Cum | 19211 |  | 14551 |  | 4644 |  | 20014.1288 |  | 15413.5329 |  | 4440.5959 |  | 18926.02 |  | 13720.29 |  | 4428.65 |  | 17897.8474 |  | 11971.7159 |  | 5926.1315 |  | 24576.3931 |  | 16686.3931 |  | 7890 |  | 22018.233 |  | 11384.2043 |  | 10634.0287 |  | 24114.0213 |  | 18076.8681 |  | 4437.1532 |  | 24872.1928 |  | 21759.0103 |  | 3113.1826 |  | 758.1716 |  | -3.468%
D.9 |  | Percent of Non-Revenue Water | % | 8.92% |  | 10.58% |  | 5.986% |  | 10.11% |  | 12.09% |  | 6.539% |  | 10.96% |  | 12.26% |  | 7.284% |  | 8.775% |  | 9.284% |  | 7.901% |  | 12.53% |  | 13.53% |  | 10.84% |  | 9.372% |  | 7.921% |  | 11.66% |  | 11.42% |  | 13.44% |  | 7.881% |  | 12.23% |  | 16.5% |  | 4.355% |  | 0.8072% |  | #DIV/0!
D.10 |  | Percentage of Line Loss | % | 8.317% |  | 10.04% |  | 5.272% |  | 9.165% |  | 11.03% |  | 5.783% |  | 10.17% |  | 11.39% |  | 6.653% |  | 8.126% |  | 8.71% |  | 7.067% |  | 11.65% |  | 12.48% |  | 10.2% |  | 8.877% |  | 7.533% |  | 11.02% |  | 10.62% |  | 12.41% |  | 7.435% |  | 11.93% |  | 16.19% |  | 4.015% |  | 1.305% |  | 12.29%
D.11 |  | Total Cost of Non-Revenue Water based on Electric Cost per Cum | Peso | 44064.2094 |  | 45144.0852 |  | 14535.8645 |  | 66428.5822 |  | 50322.8387 |  | 15721.9851 |  | 68901.1309 |  | 49310.7301 |  | 16502.1317 |  | 54906.4816 |  | 36525.0856 |  | 18327.6521 |  | 83683.9311 |  | 56526.5583 |  | 26403.6538 |  | 64072.1455 |  | 33894.0879 |  | 29594.4447 |  | 75409.6723 |  | 55643.9564 |  | 19188.0244 |  | 80009.0559 |  | 421551.42 |  | 232345.12 |  | 4599.3836 |  | 6.099%
D.12.1 |  | DMA 1: NRW % / NRW Volume | % / Cum | 8.92% | 19211 | 10.58% | 14551 |  |  | 10.11% | 20014.1288 | 12.09% | 15413.5329 |  |  | 10.96% | 18926.02 | 12.26% | 13720.29 |  |  | 8.775% | 17897.8474 | 9.284% | 11971.7159 |  |  | 12.53% | 24576.3931 | 13.53% | 16686.3931 |  |  | 9.372% | 22018.233 | 7.921% | 11384.2043 |  |  | 11.42% | 24114.0213 | 13.44% | 18076.8681 |  |  | 12.23% | 203340 | 16.5% | 134791.01 |  |  | 0.8072% | 179225.9787 | 7.065% | #REF!
D.12.2 |  | DMA 2: NRW % / NRW Volume | % / Cum |  |  |  |  | 5.986% | 4644 |  |  |  |  | 6.539% | 4440.5959 |  |  |  |  | 7.284% | 4428.65 |  |  |  |  | 7.901% | 5926.1315 |  |  |  |  | 10.84% | 7890 |  |  |  |  | 0% | 91218.03 |  |  |  |  | 7.881% | 4437.1532 |  |  |  |  | 4.355% | 73246.18 |  |  | #DIV/0! | #REF!
D.12.3 |  | DMA 3: NRW % / NRW Volume | % / Cum
D.12.4 |  | DMA 4: NRW % / NRW Volume | % / Cum
D.13 |  | Total No. of Pipe Bursts | Burst | 145 |  | 25 |  | 120 |  | 50 |  | 20 |  | 30 |  | 50 |  | 26 |  | 24 |  | 32 |  | 16 |  | 16 |  | 31 |  | 16 |  | 15 |  | 49 |  | 27 |  | 22 |  | 45 |  | 19 |  | 26 |  | 56 |  | 24 |  | 32 |  | 11 |  | 7.586%
D.14 |  | Repairs and Maintenance Cost (Mainline & Service Connections) | Peso | 9673.47 | [5 empty] | 12031.52 | [5 empty] | 13073.23 | [5 empty] | 10726.81 | [5 empty] | 8938.22 | [5 empty] | 13529.56 | [5 empty] | 13449.4926 | [5 empty] | 24620.5716 | [5 empty] | 11171.079 |  | 115.5%
D.15 |  | Adjustments to Previous Month's Customer Consumption (Overage) | Cum | 192 |  | 20 |  | 172 |  | 426 | [5 empty] | 173 |  | 130 |  | 43 |  | 270 |  | 172 |  | 98 |  | 345 |  | 11 |  | 334 |  | 187 |  | 125 |  | 62 |  | 294 |  | 244 |  | 50 |  | 50 |  | 33 |  | 17 |  | -244 |  | -127.1%
D.16 |  | Consumption of Unbilled Customers | Cum | 11 |  | 6 |  | 5 |  | 22 |  | 14 |  | 8 |  | 15 |  | 13 |  | 2 |  | 8 |  | 4 |  | 4 |  | 9 |  | 6 |  | 3 |  | 4 |  | 2 |  | 2 |  | 20 |  | 13 |  | 7 |  | 29 |  | 19 |  | 10 |  | 9 |  | 81.82%
|  |  | UNIT | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | THIS MONTH |  | BPHIS MOBPBPH
E. | ELECTRICAL CONSUMPTION
E.1 |  | No. of Electric Billing Days | Day | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 31 |  | 31 |  | 31 |  | 28 |  | 28 |  | 28 |  | 31 |  | 31 |  | 30 |  | 30 |  | 30 |  | 30 |  | 31 |  | 31 |  | 31 |  | 30 |  | 30 |  | 30 |  | -1 |  | -3.226%
E.2 |  | Total Electric Consumption for All Pumps | KWH | 83438 |  | 53184 |  | 30254 |  | 82790 |  | 52478 |  | 30312 |  | 82251 |  | 52488 |  | 29763 |  | 77864 |  | 48971 |  | 28893 |  | 84955 |  | 53649 |  | 31291 |  | 83552 |  | 52438 |  | 31114 |  | 84665 |  | 53303 |  | 31362 |  | 85037 |  | 54811 |  | 30226 |  | 372 |  | 0.4394%
E.3 |  | Electric Consumption per Day | KWH | 2781.2667 |  | 1772.8 |  | 10084.6667 |  | 2759.6667 |  | 1749.2667 |  | 1010.4 |  | 2653.2581 |  | 1693.1613 |  | 960.0968 |  | 2780.8571 |  | 1748.9643 |  | 1031.8929 |  | 2740.4839 |  | 1730.6129 |  | 1043.0333 |  | 2785.0667 |  | 1747.9333 |  | 1037.1333 |  | 2731.129 |  | 1719.4516 |  | 1011.6774 |  | 2834.5667 |  | 1827.0333 |  | 1007.5333 |  | 103.4376 |  | 3.787%
E.4 |  | Total Electric Bill for All Pumps | Peso | 669326.21 |  | 426648.99 |  | 242677.22 |  | 655157.61 |  | 416315.54 |  | 238842.07 |  | 628668.53 |  | 402130.46 |  | 226538.07 |  | 625379.81 |  | 393425.01 |  | 231954.8 |  | 645593 |  | 417758.19 |  | 243629.76 |  | 681744.48 |  | 427899.82 |  | 253844.66 |  | 657382.91 |  | 413920.15 |  | 243462.76 |  | 653896.54 |  | 421551.42 |  | 232345.12 |  | -3486.37 |  | -0.5303%
E.5 |  | Cost per KWH | KWH | 8.0218 |  | 8.0221 |  | 8.0213 |  | 7.9135 |  | 7.9331 |  | 7.8795 |  | 7.6433 |  | 7.6614 |  | 7.6114 |  | 8.0317 |  | 8.0338 |  | 8.0281 |  | 7.5992 |  | 7.7869 |  | 7.7859 |  | 8.1595 |  | 8.1601 |  | 8.1585 |  | 7.7645 |  | 7.7654 |  | 7.763 |  | 7.6896 |  | 7.691 |  | 7.6869 |  | -0.074965 |  | -0.9655%
E.6 |  | Electric Cost per Cubic Meter | Peso | 3.1266 |  | 3.1025 |  | 3.1193 |  | 3.311 |  | 3.2648 |  | 3.3946 |  | 3.6406 |  | 3.0499 |  | 3.1688 |  | 3.0678 |  | 3.0509 |  | 3.0927 |  | 3.3503 |  | 3.3876 |  | 3.3465 |  | 2.9099 |  | 2.9773 |  | 2.7828 |  | 3.1272 |  | 3.0782 |  | 3.185 |  | 3.2168 |  | 3.1274 |  | 3.1721 |  | 0.089595 |  | 2.865%
E.7 |  | Efficiency: KWH Consumption per Cubic Meter Produced | KWH | 0.38976 |  | 0.38882 |  | 0.3914 |  | 0.4184 |  | 0.41155 |  | 0.43082 |  | 0.47631 |  | 0.39809 |  | 0.41632 |  | 0.38196 |  | 0.37998 |  | 0.38535 |  | 0.44087 |  | 0.43902 |  | 0.43402 |  | 0.35663 |  | 0.36547 |  | 0.34265 |  | 0.40276 |  | 0.39658 |  | 0.41227 |  | 0.41833 |  | 0.40683 |  | 0.41266 |  | 0.015578 |  | 3.868%
E.8 |  | No. of Generator Sets | Unit | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 4 |  | 3 |  | 1 |  | 0 |  | 0%
E.9 |  | Total No. of Hours of Power Outage | Hour | 18.98 |  | 18.98 |  | 5.02 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.71 |  | 0.59 |  | 0.12 |  | 31.97 |  | 25.45 |  | 7 |  | 8.2 |  | 4.3 |  | 3.9 |  | 10.21 |  | 2.55 |  | 7.66 |  | 1.06 |  | 1.06 |  |  |  | -9.15 |  | -89.62%
E.10 |  | Total Production during Power Outage | Cum | 1240 |  | 737 |  | 503 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 98 |  | 75 |  | 23 |  | 1825 |  | 1119 |  | 706 |  | 654 |  | 241 |  | 413 |  | 431 |  | 62 |  | 369 |  | 65 |  | 65 |  |  |  | -366 |  | -84.92%
E.11 |  | Total Cost of Diesel Spent during Power Outage | Peso | 2350 | [5 empty] | 9300 | [5 empty] | 0 | [5 empty] | 11090 | [5 empty] | 2850 | [5 empty] | 2940 | [5 empty] | 72185 | [5 empty] | 0 | [5 empty] | -72185 |  | -100%
E.12 |  | Cost of Diesel per Cubic Meter | Peso | 1.8951 |  | 0 |  | 0 |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | 113.1633 |  | 0 |  | 0 |  | 1.5616 |  | 0 |  | 0 |  | 4.4954 |  | 0 |  | 0 |  | 167.4826 |  | 0 |  | 0 |  | 0 |  | 0 |  | #DIV/0! |  | -167.4826 |  | -100%
E.13 |  | Total Cost of Repairs and Maintenance for Genset Only | Peso | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [23 empty] | 0 |  | #DIV/0!
F. | CUSTOMERS CONSUMPTION
F.1 |  | Total Residential Consumption | Cum | 186694 |  | 128349 |  | 72312 |  | 168270 |  | 103975 |  | 64295 |  | 147123 |  | 92014 |  | 55109 |  | 181227 |  | 113067 |  | 68144 |  | 169192 |  | 104912 |  | 64280 |  | 209740 |  | 130031 |  | 79709 |  | 184071 |  | 114170 |  | 69901 |  | 175698 |  | 107922 |  | 67776 |  | -8373 |  | -4.549%
F.2 | + | Total Commercial Consumption | Cum | 4414 |  | 3044 |  | 895 |  | 5495 |  | 4005 |  | 1490 |  | 5204 |  | 3916 |  | 1288 |  | 3833 |  | 2879 |  | 954 |  | 2543 |  | 1872 |  | 671 |  | 3181 |  | 2306 |  | 875 |  | 3044 |  | 2367 |  | 693 |  | 2922 |  | 2298 |  | 624 |  | -122 |  | -4.008%
F.3 | = | Total Billed Volume from Residential & Commercial Sales | Cum | 191108 |  | 131393 |  | 73207 |  | 173765 |  | 107980 |  | 65785 |  | 152327 |  | 95930 |  | 56397 |  | 185044 |  | 115946 |  | 69114 |  | 171735 |  | 106784 |  | 64951 |  | 212921 |  | 132337 |  | 80584 |  | 187115 |  | 116537 |  | 70594 |  | 178620 |  | 110220 |  | 68400 |  | -8495 |  | -4.54%
F.4 | + | Volume of Bulk Water Sales / Selling Price per Cum | Cum / Peso | 5147 | 9 | 5174 | 9 |  | 9 | 4258 | 12 | 4258 | 12 |  | 12 | 1598 | 12 | 1598 | 12 |  | 12 | 1184 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 12 |  | 12 |  | 12 | 0 | 0 | #DIV/0! | 0%
F.5 | + | Volume of Lorry Sales / Selling Price | Cum / Peso
F.6 | + | Volume of Industrial Sales / Ave. Selling Price per Cum | Cum / Peso
F.7 | = | Total Volume of Water Sold | Cum | 196255 |  | 136567 |  | 73207 |  | 178023 |  | 112238 |  | 65785 |  | 153925 |  | 97528 |  | 56397 |  | 186244 |  | 115946 |  | 69114 |  | 171735 |  | 106784 |  | 64951 |  | 212921 |  | 132337 |  | 80584 |  | 187115 |  | 116537 |  | 70594 |  | 178620 |  | 110220 |  | 68400 |  | -8495 |  | -4.54%
F.8 |  | Ave. Consumption per Customer (Residential & Commercial Only) | Cum | 21.7514 |  | 23.463 |  | 22.9273 |  | 19.7326 |  | 19.2443 |  | 20.59 |  | 17.2569 |  | 17.03 |  | 17.6572 |  | 20.9202 |  | 20.5178 |  | 21.6319 |  | 19.4161 |  | 18.8965 |  | 20.3353 |  | 24.0046 |  | 23.3481 |  | 25.1668 |  | 21.0171 |  | 20.4702 |  | 21.9919 |  | 19.9933 |  | 19.3131 |  | 21.1962 |  | -1.0238 |  | -4.871%
F.9 |  | Ave. Consumption per Customer per Day (Res & Com Only) | Cum | 0.62147 |  | 0.67037 |  | 0.65507 |  | 0.61664 |  | 0.60139 |  | 0.64344 |  | 0.61632 |  | 0.60821 |  | 0.63061 |  | 0.69734 |  | 0.68392 |  | 0.72106 |  | 0.69343 |  | 0.67487 |  | 0.72626 |  | 0.72741 |  | 0.70752 |  | 0.76263 |  | 0.70057 |  | 0.68234 |  | 0.73306 |  | 0.66644 |  | 0.64377 |  | 0.70654 |  | -0.034126 |  | -4.871%
F.10 |  | Ave. Monthly Water Bill (Residential & Commercial Only) | Peso | 493.493 |  | 774.2553 |  | 518.0133 |  | 447.575 |  | 438.562 |  | 463.4034 |  | 396.0429 |  | 395.1776 |  | 397.5691 |  | 467.9842 |  | 444.1995 |  | 481.7529 |  | 433.9391 |  | 423.481 |  | 452.4421 |  | 542.9007 |  | 527.468 |  | 570.2188 |  | 470.3305 |  | 735.5266 |  | 0 |  | 447.1789 |  | 434.1914 |  | 470.1473 |  | -23.1517 |  | -4.922%
G. | BILLING STATISTICS
G.1 |  | No. of Customers with Zero Consumption | Customer | 155 |  | 101 |  | 54 |  | 159 |  | 100 |  | 59 |  | 172 |  | 166 |  | 116 |  | 145 |  | 63 |  | 98 |  | 242 |  | 91 |  | 151 |  | 191 |  | 126 |  | 65 |  | 204 |  | 133 |  | 71 |  | 195 |  | 129 |  | 66 |  | -9 |  | -4.412%
G.2 |  | No. of Customers with High Bill (P1000 and above) | Customer | 450 |  | 333 |  | 277 |  | 413 |  | 241 |  | 172 |  | 282 |  | 102 |  | 70 |  | 511 |  | 204 |  | 307 |  | 391 |  | 157 |  | 234 |  | 862 |  | 511 |  | 351 |  | 554 |  | 329 |  | 225 |  | 444 |  | 270 |  | 190 |  | -110 |  | -19.86%
H. | BALANCE SHEET
H.1 |  | Total Collections for the Month | Peso | 3115806.49 | [5 empty] | 4749497.67 | [5 empty] | 3692215.51 | [5 empty] | 2443764.14 | [5 empty] | 2679936.14 | [5 empty] | 4427594.11 | [5 empty] | 4567151.33 | [5 empty] | 4188655.56 | [5 empty] | -378495.77 |  | -8.287%
H.2 | + | 1 Month Bills Over the GD / % of 1 Bills Over GD | Bills / % | 440 | 188% |  |  |  |  | 426 | 181% |  |  |  |  | 271 | 202% |  |  |  |  | 275 | 163% |  |  |  |  | 216 | 176% |  |  |  |  | 385 | 166% |  |  |  |  | 374 | 166% |  |  |  |  | 298 | 166% |  |  |  |  | -76 | 0 | -20.32% | 0%
H.3 | + | 2 Month Bills Over the GD / % of 2 Month Bills Over GD | Bills / % | 396 | 195% |  |  |  |  | 265 | 200% |  |  |  |  | 382 | 194% |  |  |  |  | 452 | 196% |  |  |  |  | 259 | 183% |  |  |  |  | 346 | 193% |  |  |  |  | 631 | 187% |  |  |  |  | 592 | 180% |  |  |  |  | -39 | -0.07 | -6.181% | -3.743%
H.4 | + | 3 Months+ Bills Over the GD / % of 3 Months+ Bills Over the GD | Bills / % | 114 | 322% |  |  |  |  | 32 | 423% |  |  | 0 |  | 37 | 432% |  |  | 0 |  | 482 | 226% |  |  | 0 |  | 700 | 233% |  |  | 0 |  | 569 | 262% |  |  | 0 |  | 812 | 271% |  |  | 0 |  | 898 | 272% |  |  | 0 |  | 86 | 0.01 | 10.59% | 0.369%
H.5 | = | Total Number of Bills Over the GD / % Total Amount Over GD | Bills / % | 950 | 208% | 0 |  | 0 |  | 723 | 200% | 0 |  | 0 |  | 690 | 210% | 0 |  | 0 |  | 1369 | 202% | 0 |  | 0 |  | 1175 | 213% | 0 |  | 0 |  | 1300 | 220% | 0 |  | 0 |  | 1817 | 225% | 0 |  | 0 |  | 1788 | 229% | 0 |  | 0 |  | -29 | 0.04 | -1.596% | 1.778%
H.6 |  | 1 Month Bills: Total Amount of GD / Total Amount of Bills Over GD | Peso / Peso | 310450 | 271724.17 |  |  |  |  | 292440 | 236667.78 |  |  |  |  | 191100 | 194513.2 |  |  |  |  | 190800 | 120529.91 |  |  |  |  | 136300 | 103542.38 |  |  |  |  | 276200 | 182305.21 |  |  |  |  | 248500 | 163569.33 |  |  |  |  | 197200 | 130782.79 |  |  |  |  | -51300 | -32786.54 | -20.64% | -20.04%
H.7 |  | 2 Month Bills: Total Amount of GD / Total Amount of Bills Over GD | Peso / Peso | 290300 | 274386.09 |  |  |  |  | 202350 | 201457.83 |  |  |  |  | 273800 | 254428.8 |  |  |  |  | 445900 | 445502.5 |  |  |  |  | 213300 | 174440.7 |  |  |  |  | 269000 | 250091.16 |  |  |  |  | 525350 | 458586.32 |  |  |  |  | 471200 | 378444.44 |  |  |  |  | -54150 | -80141.88 | -10.31% | -17.48%
H.8 |  | 3 Month+ Bills: Total Amount of GD / Total Amount of Bills Over GD | Peso / Peso | 93500 | 207109.5 |  |  |  |  | 25000 | 80658.8 |  |  |  |  | 27800 | 92416.7 |  |  |  |  | 397800 | 500444.51 |  |  |  |  | 599300 | 794414.06 |  |  |  |  | 526450 | 854877.57 |  |  |  |  | 754150 | 1289153.72 |  |  |  |  | 834250 | 1432962.03 |  |  |  |  | 80100 | 143808.31 | 10.62% | 11.16%
H.9 |  | All Bills: Total Amount of GD / Total Amount of All Bills Over GD | Peso / Peso | 694250 | 753219.76 | 0 | 0 | 0 | 0 | 519790 | 518784.41 | 0 | 0 | 0 | 0 | 492700 | 541358.7 | 0 | 0 | 0 | 0 | 1034500 | 1066476.92 | 0 | 0 | 0 | 0 | 948900 | 1072397.14 | 0 | 0 | 0 | 0 | 1071650 | 1287273.94 | 0 | 0 | 0 | 0 | 1528000 | 1911309.37 | 0 | 0 | 0 | 0 | 1502650 | 1942189.26 | 0 | 0 | 0 | 0 | -25350 | 30879.89 | -1.659% | 1.616%
H.10 |  | Aging of A/R - 1 to 30 Days |  | 4698 | 2436804 |  |  |  |  | 5053 | 2324383.99 |  |  |  |  | 4984 | 2034551.03 |  |  |  |  | 5072 | 2465805.1 |  |  |  |  | 3891 | 1763357.93 |  |  |  |  | 3812 | 2195252.8 |  |  |  |  | 5903 | 2893217.93 |  |  |  |  | 6031 | 2792438.5 |  |  |  |  | 128 |  | 2.168%
H.11 |  | Aging of A/R - 31 to 44 Days |  | 1219 | 513180.2 |  |  |  |  | 663 | 330754.74 |  |  |  |  | 1235 | 559248.35 |  |  |  |  | 2554 | 1069081.96 |  |  |  |  | 1694 | 839535.08 |  |  |  |  | 1467 | 691899.72 |  |  |  |  | 2374 | 1417363.6 |  |  |  |  | 2534 | 1290962.35 |  |  |  |  | 160 |  | 6.74%
H.12 |  | Aging of A/R - 45 to 90 Days |  | 168 | 81351.92 |  |  |  |  | 44 | 31563.7 |  |  |  |  | 73 | 44931 |  |  |  |  | 814 | 372206.77 |  |  |  |  | 1039 | 447546.5 |  |  |  |  | 772 | 375199.96 |  |  |  |  | 1040 | 492692.05 |  |  |  |  | 1142 | 644047.21 |  |  |  |  | 102 |  | 9.808%
H.13 |  | Aging of A/R - 90 Days and Over |  | 82 | 62191.02 |  |  |  |  | 22 | 24417.42 |  |  |  |  | 17 | 36945.72 |  |  |  |  | 68 | 69128.64 |  |  |  |  | 498 | 245233.1 |  |  |  |  | 825 | 374525.04 |  |  |  |  | 1236 | 620314.38 |  |  |  |  | 1449 | 684625.5 |  |  |  |  | 213 |  | 17.23%
H.14 |  | Total Aging of Accounts Receivables |  | 4567 | 3093527.14 | 0 | 0 | 0 | 0 | 5782 | 2711119.85 | 0 | 0 | 0 | 0 | 6309 | 2675676.1 | 0 | 0 | 0 | 0 | 8508 | 3976222.47 | 0 | 0 | 0 | 0 | 7122 | 3295672.61 | 0 | 0 | 0 | 0 | 6876 | 3636877.52 | 0 | 0 | 0 | 0 | 10553 | 5423587.96 | 0 | 0 | 0 | 0 | 11156 | 5412073.56 | 0 | 0 | 0 | 0 | 603 |  | 5.714%
H.15 |  | Past Due Rate |  | 4.64% |  | #DIV/0! |  | #DIV/0! |  | 2.065% |  | #DIV/0! |  | #DIV/0! |  | 3.06% |  | #DIV/0! |  | #DIV/0! |  | 11.1% |  | #DIV/0! |  | #DIV/0! |  | 21.02% |  | #DIV/0! |  | #DIV/0! |  | 20.61% |  | #DIV/0! |  | #DIV/0! |  | 20.52% |  | #DIV/0! |  | #DIV/0! |  | 24.55% |  | #DIV/0! |  | #DIV/0! |  | 4.029% |  | 19.63%
H.16 |  | A/R - Disconnected |  | 542653.83 | [5 empty] | 542581.622 | [5 empty] | 570767.392 | [5 empty] | 580577.852 | [5 empty] | 445080.522 | [5 empty] | 591538.64 | [5 empty] | 592707.57 | [5 empty] | 599431.252 | [5 empty] | 6723.682 |  | 1.134%
H.17 |  | Net Book Value of PPE | Peso | 39915828.2912 | [5 empty] | 39657244.5702 | [5 empty] | 39547397.6469 | [5 empty] | 39403435.2544 | [5 empty] | 39134170.4315 | [5 empty] | 38876836.98 | [5 empty] | 40548440.4172 | [5 empty] | 40433903.4813 | [5 empty] | -114536.936 |  | -0.2825%
I. | FINANCIAL PERFORMANCE |  |  | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual | Projected | Actual
|  | Total Billed Customers |  | 9316 | 8786 |  | 5440 |  | 3193 | 8792 | 8806 | 5549 | 5611 | 3243 | 3195 | 8829 | 8827 | 5565 | 5633 | 3264 | 3194 | 8876 | 8846 | 5581 | 5620 | 3295 | 3195 | 8936 | 8845 | 5610 | 5651 | 3326 | 3194 | 8982 | 8870 | 5641 | 5668 | 3341 | 3202 | 9060 | 8903 | 5672 | 5693 | 3388 | 3210 | 9150 | 8934 | 5703 | 5707 | 3447 | 3227 | -216 |  | -2.426%
I.1.1 |  | Billed Customers (Residential) | Customer | 9180 | 8629 |  | 5471 |  | 3164 | 8640 | 8651 | 5423 | 5483 | 3217 | 3168 | 8675 | 8671 | 5438 | 5504 | 3237 | 3167 | 8720 | 8687 | 5453 | 5519 | 3267 | 3168 | 8778 | 8687 | 5481 | 5521 | 3297 | 3166 | 8838 | 8712 | 5511 | 5538 | 3327 | 3174 | 8898 | 8745 | 5541 | 5563 | 3357 | 3182 | 8986 | 8776 | 5571 | 5577 | 3415 | 3199 | -210 |  | -2.401%
I.1.2 |  | Billed Customers (Commercial) |  | 136 | 157 |  | 129 |  | 29 | 152 | 155 | 126 | 128 | 26 | 27 | 154 | 156 | 127 | 129 | 27 | 27 | 156 | 159 | 128 | 101 | 28 | 27 | 158 | 158 | 129 | 130 | 29 | 28 | 144 | 158 | 130 | 130 | 14 | 28 | 162 | 158 | 131 | 130 | 31 | 28 | 164 | 158 | 132 | 130 | 32 | 28 | -6 |  | -3.797%
I.2.1 |  | Average Daily Consumption (Residential) | Cum | 0.68 | 0.45815 |  | 0.67028 |  | 0.65299 | 0.59372 | 0.60784 | 0.59 | 0.5926 | 0.6 | 0.63422 | 0.6 | 0.60597 | 0.45 | 0.59706 | 0.58 | 0.62146 | 0.64251 | 0.6954 | 0.65 | 0.6829 |  | 0.71717 | 0.66746 | 0.69559 | 0.69 | 0.67866 | 0.63 | 0.72512 | 0.68 | 0.72954 | 0.66 | 0.71151 | 0.72 | 0.761 | 0.66 | 0.70162 | 0.66 | 0.6841 | 0.66 | 0.73225 | 0.6838 | 0.66734 | 0.68 | 0.64504 | 0.69 | e | -0.016458 |  | -0.023456
I.2.2 |  | Average Daily Consumption (Commercial) |  | 1.35 | 0.80328 |  | 0.6742 |  | 0.88177 | 1.2574 | 1.1079 | 1.1 | 0.97778 | 2.02 | 1.7245 | 1.32 | 1.1914 | 1.2 | 1.0842 | 1.9 | 1.7037 | 1.1959 | 0.80356 | 1.02 | 0.95017 |  | 1.1778 | 0.87709 | 0.57482 | 0.8 | 0.51429 | 1.22 | 0.85587 | 1.01 | 0.61009 | 0.96 | 0.53753 | 1.24 | 0.94697 | 1.3791 | 0.64219 | 1.27 | 0.60692 | 1.84 | 0.825 | 1.2102 | 0.61646 | 1.06 | 0.58923 | 1.83 | 0.74286 | -0.59379 |  | -0.92462
I.3.1 |  | Total Monthly Customer Consumption (Residential) | Cum | 193514.4 | 186694 |  | 128349 |  | 72312 | 164152.64 | 168270 | 102386.24 | 103975 | 45766.4 | 64295 | 145449.92 | 147123 | 92881.04 | 92014 | 52568.88 | 55109 | 179285.12 | 181227 | 113422.4 | 113067 |  | 68144 | 164052 | 169192 | 105892.92 | 104912 | 58159.08 | 64280 | 180981 | 209740 | 109117.8 | 130031 | 71863.2 | 79709 | 164435.04 | 184071 | 102397.68 | 114170 | 62037.36 | 69901 | 202772.79 | 175698 | 125013.24 | 107922 | 77759.55 | 67776 | -27074.79 |  | -14.71%
I.3.2 |  | Total Monthly Customer Consumption (Commercial) |  | 5691.6 | 4414 |  | 3044 |  | 895 | 4515.84 | 5495 | 4435.2 | 4005 | 1680.64 | 1490 | 5703.6 | 5204 | 4267.2 | 3916 | 1436.4 | 1288 | 5969.92 | 3833 | 4177.92 | 2879 |  | 954 | 3880.24 | 2543 | 2889.6 | 1872 | 990.64 | 671 | 4844 | 3181 | 3744 | 2306 | 1116 | 875 | 6255.48 | 3044 | 4658.36 | 2367 | 1597.12 | 693 | 6549.84 | 2922 | 4457.36 | 2298 | 1932.48 | 624 | -3627.84 |  | -119.2%
|  | Total Bulk Sales |  | 4000 | 5147 |  | 5147 |  |  | 3000 | 4258 | 3000 | 4258 |  |  | 3000 | 1598 | 3000 | 1598 |  |  | 300 | 1184 | 3000 | 1184 |  |  | 3000 | 0 | 3000 | 0 |  |  | 3000 | 0 | 3000 | 0 |  |  | 3000 | 0 | 3000 | 0 |  |  | 1000 | 0 | 1000 | 0 |  |  | -1000 |  | #DIV/0!
I.4 |  | Total Monthly Production | Cum | 214200 | 215318 |  | 137519 |  |  | 186310.1935 | 197873.1288 | 118087.5699 | 127514.5329 | 68222.6237 | 70358.5959 | 165756 | 172685.02 |  | 131849.0103 |  | 40836.0097 | 200424.7742 | 203952.8474 | 129677.7634 | 128951.7159 |  | 75001.1315 | 183798.1075 | 194522.3931 | 120196.2581 |  | 63441.8495 | 194522.3931 | 201054.8387 | 234939.23 |  |  |  | 234939.23 | 184764 | 210644.69 | 118339.828 |  | 66424.172 | 210644.69 | 224153.3656 | 203340 | 140463.0108 |  | 83690.3548 | 203340 | -20813.3656 |  | -9.881%
I.5 |  | Non-Revenue Water | % | 7% | 8.92% |  |  |  |  | 7% | 0% | 7% |  | 7% |  | 7% | 0% | 7% | 12.26% | 7% | 7.284% | 7% | 8.775% | 7% | 9.284% |  | 7.901% | 7% | 12.53% | 7% |  | 7% | 10.84% | 7% | 9.372% | 7% |  | 7% | 0% | 7% | 11.42% | 7% |  | 7% | 7.881% | 7% | 12.23% | 7% |  | 7% | 4.355% | 0.052318 |  | 0.45794
I.6.1. |  | Average Price per Cubic Meter (Residential) | Peso | 22 | 22.1395 |  | 32.2037 |  | 22.3085 | 21.9438 | 21.9279 | 21.94 | 21.8954 | 21.95 | 21.9803 | 21.94 | 22.1242 | 21.94 | 22.2088 | 21.95 | 21.9829 | 21.9437 | 21.8512 | 21.94 | 21.7912 |  | 21.9507 | 21.9435 | 21.8748 | 21.94 | 21.8116 | 21.95 | 21.9779 | 21.944 | 22.2718 | 21.94 | 22.1991 | 21.95 | 22.3902 | 21.9438 | 21.9329 | 21.94 | 35.3614 | 21.95 | 0 | 21.9438 | 21.9176 | 21.94 | 21.9045 | 21.95 | 21.9386 | -0.026198 |  | -0.1194%
I.6.2 |  | Average Price per Cubic Meter (Commercial) |  | 45.5 | 45.881 |  | 66.5304 |  | 45.6362 | 46.1364 | 45.777 | 46.37 | 45.9916 | 45.52 | 45.2 | 46.16 | 46.2898 | 46.37 | 46.6068 | 45.52 | 45.3259 | 46.1149 | 46.8982 | 46.37 | 47.4891 |  | 45.1151 | 46.153 | 53.9318 | 46.37 | 55.9774 | 45.52 | 48.225 | 46.1748 | 45.3479 | 46.37 | 44.7152 | 45.52 | 47.0155 | 46.153 | 49.3237 | 46.37 | 63.4311 | 45.52 | 0 | 46.1192 | 49.3535 | 46.37 | 49.5888 | 45.52 | 48.4872 | 3.2343 |  | 6.557%
I.7 |  | Income from Residential & Commercial Customers | Peso | 4516284.6 | 4335829.8 |  | 4335829.8 |  | 1654016.4 | 3724289.5424 | 3941345.3 | 2451998.3296 | 2460771.4 | 1432275.2128 | 1480573.9 | 3454951.9256 | 3495871.06 | 2235680.0816 | 2226035.46 | 1219271.844 | 1269835.6 | 4209476.1504 | 4139787.9 | 2682217.4464 | 2440587.5 | 0 | 1539200.4 | 3778967.1556 | 3838191.1 | 2457281.4168 | 2393090.9 | 1321685.7388 | 1445100.2 | 4195851.372 | 4815528.9 | 2567493.812 | 2989688.4 | 1628197.56 | 1825840.5 | 3737034.2068 | 4187352.8 | 2460853.2524 | 4187352.8 | 1418420.9544 | 0 | 4751525.9209 | 3995095.9 | 2956897.4688 | 2477930.6 | 1794788.6121 | 1517165.3 | -756430.0209 |  | -18.06%
I.7.1 |  | Income from Residential Customers |  | 4257316.8 | 4133311.2 |  | 4133311.2 |  | 1453172 | 3442126.5856 | 3689800.9 | 2246354.1056 | 2276575 | 1355772.48 | 1413225.9 | 3191696.9336 | 3254978.86 | 2037810.0176 | 2043523.06 | 1153886.916 | 1211455.8 | 3934174.16 | 3944027.1 | 2488487.456 | 2463866.5 |  | 1494544.6 | 3599882.4708 | 3701042.5 | 2323290.6648 | 2288301.3 | 1276591.806 | 1412741.2 | 3971441.772 | 4671277.1 | 2394044.532 | 2886575.2 | 1577397.24 | 1784701.9 | 3448325.1512 | 4037211.4 | 2246445.0992 | 4037211.4 | 1345720.052 |  | 4449452.4481 | 3850884.9 | 2742790.4856 | 2363975.6 | 1706822.1225 | 1486909.3 | -598567.5481 |  | -14.83%
I.7.2 |  | Income from Commercial Customers |  | 258967.8 | 202518.6 |  | 202518.6 |  | 40844.4 | 282162.9568 | 251544.4 | 205644.224 | 184196.4 | 76502.7328 | 67348 | 263254.992 | 240892.2 | 197870.064 | 182512.4 | 65384.928 | 58379.8 | 275301.9904 | 179744.8 | 193730.1504 | 136721 |  | 43039.8 | 179084.6848 | 137148.6 | 133990.752 | 104789.6 | 45093.9328 | 32359 | 224409.6 | 144251.8 | 173449.28 | 103113.2 | 50800.32 | 41138.6 | 288709.0556 | 150141.4 | 214408.1532 | 150141.4 | 72700.9024 |  | 302073.4728 | 144211 | 214106.9832 | 113955 | 87966.4896 | 30256 | -157862.4728 |  | -105.1%
I.8 | + | Income from Bulk Water | Peso | 34400 | 46323 |  | 46323 |  |  | 34400 | 51096 | 34400 | 51096 |  |  | 34400 | 19176 | 34400 | 19176 |  |  |  | 14208 | 34400 | 14208 |  |  | 34400 | 0 | 34400 |  |  |  | 34400 | 0 | 34400 |  |  |  | 34400 | 0 | 34400 |  |  |  | 12000 | 0 | 12000 |  |  |  | -12000 |  | #DIV/0!
I.9 | + | Income from Lorry Sales | Peso | [48 empty] | 0 |  | #DIV/0!
I.10 | + | Income from Other Water Services | Peso | 8000 | 3507.45 | [5 empty] | 5244.23 | [5 empty] | 3566.15 | [5 empty] | 2294.44 | [5 empty] | 251.16 | [5 empty] | 563.78 | [5 empty] | 2254.81 | [5 empty] | 4422.13 |  |  |  |  | 4422.13 |  | 196.1%
I.11 | + | Income from Plumbing Services | Peso | 43200 | 16392 |  |  |  |  | 16650 | 30378.6 | 7200 |  | 9450 |  | 16650 | 24544 | 7200 |  | 9450 |  | 21150 | 13845 | 7200 |  |  |  | 27000 | 8700 | 13050 |  | 13950 |  | 27900 | 35145 | 13950 |  | 13950 |  | 27900 | 28744 | 13950 |  | 13950 |  | 40500 | 41507 | 13950 |  | 26550 |  | 1007 |  | 3.503%
I.12 | + | Income from Plumbing Materials | Peso | 28800 | 19292.4133 |  |  |  |  | 14800 | 20714 | 6400 |  | 8400 |  | 14800 | 17194.38 | 6400 |  | 8400 |  | 18800 | 9028.07 | 6400 |  |  |  | 24000 | 11424.21 | 11440 |  | 12400 |  | 24800 | 17244.16 | 12400 |  | 12400 |  | 24800 | 23179.072 | 12400 |  | 12400 |  | 34400 | 21424.371 | 12400 |  | 23440 |  | -12975.629 |  | -55.98%
I.13 | + | Other Income | Peso | 720 | 46895.28 |  |  |  |  | 1500 | 9300 | 1500 |  |  |  |  | 12216.5 | [5 empty] | 9125.9 |  |  |  |  | 2644 | 9158.75 | [5 empty] | 1449.82 | [5 empty] | 5444.01 | [5 empty] | 5545.51 |  |  |  |  | 5545.51 |  | 101.9%
I.14 | - | Less: Sales Discount | Peso | -4500 | -4963.3 |  |  |  |  | -4084 | -4676 | -3114 |  | -970 |  | -4084 | -2920 | -3114 |  | -970 |  | -4084 | -2716 | -3114 |  |  |  | -4084 | -2910 | -3114 |  | -970 |  | -4084 | -9362.35 | -3114 |  | -970 |  | -4084 | -431981.8 | -3114 |  | -970 |  | -4084 | -92674 | -3114 |  | -970 |  | -88590 |  | 20.51%
I.15 | = | Gross Revenue | Peso | 4627784.6 | 4416381.5233 |  |  |  |  | 3786055.5424 | 4044102.13 | 2496884.3296 |  | 1449155.2128 |  | 3516717.9256 | 3557431.59 | 2280566.0816 |  | 1236151.844 |  | 4245342.1504 | 4176447.41 | 2728703.4464 |  | 0 |  | 3860283.1556 | 3855656.47 | 2513057.4168 |  | 1347065.7388 |  | 4278867.372 | 4859119.49 | 2625129.812 |  | 1653577.56 |  | 3820050.2068 | 3809548.882 | 2518489.2524 |  | 1443800.9544 |  | 4834341.9209 | 3969775.401 | 2992133.4688 |  | 1843808.6121 |  | -864566.5199 |  | -22.69%
I.16 |  | Franchise Fee | Peso | 0.25 | 62534.8435 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 95287.9366 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 74382.3046 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 52382.9262 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 53825.8334 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 89503.0158 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 92164.0276 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 84855.42 | 0.25 | 0.25 | 0.25 | 0.25 | -7308.6076 |  | -0.0793
J. | BALIPURE
J.1 |  | Branch Target for the Month | Box
J.2 |  | Number of 350 mL boxes sold | Box |  | 48 | [5 empty] | 10 | [5 empty] | 12 | [5 empty] | 21 | [5 empty] | 12 | [5 empty] | 0 | [5 empty] | 22 | [5 empty] | 3 | [5 empty] | -19 | -86.36%
J.3 |  | Number of 500 mL boxes sold | Box |  | 20 | [5 empty] | 41 | [5 empty] | 35 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 0 | [5 empty] | 22 | [5 empty] | 3 | [5 empty] | -19 | -86.36%
J.4 |  | Total Boxes sold | Box | 0 | 68 | 0 |  | 0 | 0 | 0 | 51 | 0 |  | 0 | 0 | 0 | 47 | 0 |  | 0 | 0 | 0 | 21 | 0 |  | 0 | 0 | 0 | 12 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 44 | 0 |  | 0 | 0 | 0 | 6 | 0 |  | 0 | 0 |  | -38 | -86.36%
K. |  | COMPETITION
K.1 | Name of Competitor/s in the exact same geographic service area |  | NAME | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE |  | NONE
K.2 | Name of Competitor/s threatening to enter our geographic service area |  | NAME

## W.B. Input Data
BCBI-SAN LUIS
JULY 2020
| Cubic | Remarks
Meter
I. Supply | 203340.1928
- Pump Production | 202430
- Pump Drain (add back) | 910.1928
- Purchased Bulk Water | 0
II. Authorized Consumption
II.A. Billed Authorized Consumption
II.A.1. Billed Metered Consumption | 178468
- Customer's Consumption | 178620
- Residential | 175698
- Commercial | 2922
- Bulk Water | 0
II.A.2. Billed Unmetered Consumption | 0
- Bulk Water | 0
- Lorry
- Contractor's Usage
II.B. Unbilled Authorized Consumption
II.B.1. Unbilled Metered Consumption | 183
- Office Usage | 18
- Pump Houses Usage | 13
- Discount to Customers | 152
II.B.2. Unbilled Unmetered Consumption | 49.15
- Service Connection Draining | 23.65
- Tapping | 0
- Plug Connection | 0
- Relocate Meter | 23.65
- Pump/Line Draining | 5.5
- Line Draining - Mainline | 0
- Line Draining - Meter Stand | 5.5
- Pump Draining | 0
- Backwash | 0
- Fire Usage | 20
III. Water Losses
III.A. Commercial/Apparent Losses
III.A.1. Unauthorized Consumption | 0
- Illegal Connection | 0
III.A.2. Metering Inaccuracies | 50
- Meter Test (Under Registering or Under Read) | 50
III.B. Real/Physical Losses
III.B.1 Accounted Leakage | 336.1
- Busted Service Pipes | 187.59
- Busted Mainlines | 122.92
- Busted Meter Stand | 9.08
- Tail Piece Leak | 3.58
- Gate Valve Leak | 12.93
- Disconnect Mainline | 0
- Disconnect Meter Stand | 0
- Installation of Appurtenances | 0
- Interconnection of Mainline | 0
III.B.2 Unaccounted Leakage | 24253.9428
Note: Fill-up the Yellow Cell

## W.B.Input data main
W.B. input
BCBI-SAN LUIS
JULY 2020
|  | Cubic | Remarks
Meter
| I. Supply | 131849.0103
| - Pump Production | 131206
| - Pump Drain (add back) | 643.0103
- Purchased Bulk Water
II. Authorized Consumption
II.A. Billed Authorized Consumption
| II.A.1. Billed Metered Consumption | 110090
| - Customer's Consumption | 110220
| - Residential | 107922
| - Commercial | 2298
- Bulk Water
| II.A.2. Billed Unmetered Consumption | 0
- Bulk Water
- Lorry
- Contractor's Usage
II.B. Unbilled Authorized Consumption
| II.B.1. Unbilled Metered Consumption | 155
| - Office Usage | 18
| - Pump Houses Usage | 7
| - Discount to Customers | 130
| II.B.2. Unbilled Unmetered Consumption | 72.1
| - Service Connection Draining | 12.1
- Tapping
- Plug Connection
| - Relocate Meter | 12.1
| - Pump/Line Draining | 0
- Line Draining - Mainline
- Line Draining - Meter Stand
- Pump Draining
- Backwash
| - Fire Usage | 60
III. Water Losses
III.A. Commercial/Apparent Losses
| III.A.1. Unauthorized Consumption | 0
- Illegal Connection
| III.A.2. Metering Inaccuracies | 33
| - Meter Test (Under Registering or Under Read) | 33
III.B. Real/Physical Losses
| III.B.1 Accounted Leakage | 155.4
| - Busted Service Pipes | 59.41
| - Busted Mainlines | 83.61
| - Busted Meter Stand | 6.05
| - Tail Piece Leak | 3.58
| - Gate Valve Leak | 2.75
- Disconnect Mainline
- Disconnect Meter Stand
| - Installation of Appurtenances |  |  | 5
- Interconnection of Mainline
| III.B.2 Unaccounted Leakage | 21343.5103
Note: Fill-up the Yellow Cell

## W.B.Input data ind.
BCBI-SAN LUIS
JULY 2020
| Cubic | Remarks
Meter
I. Supply | 71491.1826
- Pump Production | 71224
- Pump Drain (add back) | 267.1826
- Purchased Bulk Water | 0
II. Authorized Consumption
II.A. Billed Authorized Consumption
II.A.1. Billed Metered Consumption | 68378
- Customer's Consumption | 68400
- Residential | 67776
- Commercial | 624
- Bulk Water
II.A.2. Billed Unmetered Consumption | 0
- Bulk Water
- Lorry
- Contractor's Usage
II.B. Unbilled Authorized Consumption |  | `
II.B.1. Unbilled Metered Consumption | 28
- Office Usage | 0
- Pump Houses Usage | 6
- Discount to Customers | 22
II.B.2. Unbilled Unmetered Consumption | 17.05
- Service Connection Draining | 11.55
- Tapping
- Plug Connection
- Relocate Meter | 11.55
- Pump/Line Draining | 5.5
- Line Draining - Mainline
- Line Draining - Meter Stand | 5.5
- Pump Draining
- Backwash
- Fire Usage
III. Water Losses
III.A. Commercial/Apparent Losses
III.A.1. Unauthorized Consumption | 0
- Illegal Connection
III.A.2. Metering Inaccuracies | 17
- Meter Test (Under Registering or Under Read) | 17
III.B. Real/Physical Losses
III.B.1 Accounted Leakage | 180.7
- Busted Service Pipes | 128.18
- Busted Mainlines | 39.31
- Busted Meter Stand | 3.03
- Tail Piece Leak
- Gate Valve Leak | 10.18
- Disconnect Mainline
- Disconnect Meter Stand
- Installation of Appurtenances
- Interconnection of Mainline
III.B.2 Unaccounted Leakage | 2870.4326
Note: Fill-up the Yellow Cell

## W.B.Main
BCBI-SAN LUIS
JULY 2020
Billed Metered Consumption
|  | Billed Authorized | 110090 | Revenue
|  | Consumption | 83.5% | Water
|  | 110090 | Billed Unmetered Consumption | 110090
| Authorized | 83.5% | 0 | 83.5%
| Consumption |  | 0%
| 110317.1 |  | Unbilled Metered Consumption
| 83.67% | Unbilled Authorized | 155
|  | Consumption | 0.1176%
|  | 227.1 | Unbilled Unmetered Consumption
|  | 0.1722% | 72.1
SUPPLY |  |  | 0.05468%
131849.0103 |  |  | Unauthorized Consumption
|  | Commercial / | 0 | Non-Revenue
|  | Apparent Losses | 0% | Water
|  | 33 | Metering Inaccuracies | 21759.0103
| Water | 0.02503% | 33 | 16.5%
| Losses |  | 0.02503%
| 21531.9103 |  | Accounted Leakage
| 16.33% | Real /Physical | 155.4
|  | Losses | 0.1179%
|  | 21498.9103 | Unaccounted Leakage
|  | 16.31% | 21343.5103
16.19%

## W.B.Ind.
BCBI-SAN LUIS
JULY 2020
Billed Metered Consumption
|  | Billed Authorized | 68378 | Revenue
|  | Consumption | 95.65% | Water
|  | 68378 | Billed Unmetered Consumption | 68378
| Authorized | 95.65% | 0 | 95.65%
| Consumption |  | 0%
| 68423.05 |  | Unbilled Metered Consumption
| 95.71% | Unbilled Authorized | 28
|  | Consumption | 0.03917%
|  | 45.05 | Unbilled Unmetered Consumption
|  | 0.06301% | 17.05
SUPPLY |  |  | 0.02385%
71491.1826 |  |  | Unauthorized Consumption
|  | Commercial / | 0 | Non-Revenue
|  | Apparent Losses | 0% | Water
|  | 17 | Metering Inaccuracies | 3113.1826
| Water | 0.02378% | 17 | 4.355%
| Losses |  | 0.02378%
| 3068.1326 |  | Accounted Leakage
| 4.292% | Real /Physical | 180.7
|  | Losses | 0.2528%
|  | 3051.1326 | Unaccounted Leakage
|  | 4.268% | 2870.4326
4.015%