## summary
Statistic Report on Line loss
For the Month of October 2019
COMPARATIVE REPORT ON PUMP OPERATION
| San Roque | San Juan | Sto Tomas | Sto Niño | Sta Monica | Sto Rosario
Particulars | Pump | Pump | Pump | Pump | Pump | Pump | Summary
| No.1 | No.2 | No.3 | No.4 | No.5 | N0.6 | of Pumps
No.of days oper. | 31 | 31 | 31 | 31 | 31 | 31 | 31
Ave.Oper.Hrs./day | 0 | 0 | 0 | 0 | 0 | 0 | 0
Oper.Hrs
Pump Drain in minutes | 149 | 208 | 183 | 155 | 4 | 685.54 | 699
PSI | 86.7581 | 46.9677 | 53.4194 | 76.2258 | 76.2258 | 53.7419 | 67.9194
Flow on GPM | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Pump Drain in Cum3 | #DIV/0! | 146 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Prod.Output | 49795 | 25443 | 36229 | 27416 | 48838 | 22516 | 210237
Ave.Cu.M/day | 1606.2903 | 820.7419 | 1168.6774 | 884.3871 | 1575.4194 | 726.3226 | 6781.8387
Generator
Operating hours | 0.12 | 0 | 0 |  | 0.59 |  | 0.71
Prod.Output | 23 | 0 | 0 |  | 75 |  | 98

## Weekly Report
BCBI - SAN LUIS WATERWORKS
WEEKLY REPORT
As of December 25-December 31 , 2019
| San Roque | San Juan | Sto Tomas | Sto Nino | Sta Monica | Sto Rosario | Total
Operating Hours
PSI Low
PSI High
Average PSI Low
Average PSI High
Production
Power interruption (hrs)
Power interruption (cubic)
Prepared by: |  |  |  |  | Reviewed by:
Rodolfo S. Capalungan Jr. |  |  |  |  | Mc Berlin Rodriguez
Operation Supervisor |  |  |  |  | Branch Manager

## san roque
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 1 |  | December 1-31,2019
SAN ROQUE
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain | Drain | Flow Rate | GPM | Pressure |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | cubic | Cu.m/hr |  | lowest | highest | (hr) | (cubic)
4 | 436103 | 437511 | 1408 | 22 | 5 |  | 64 | 281.8133 | 65 | 116
5 | 437511 | 438882 | 1371 | 22.03 | 5 |  | 62.2333 | 274.034 | 60 | 109
6 | 438882 | 440427 | 1545 | 21.56 | 5 |  | 71.6605 | 315.545 | 55 | 112 | 0.12 | 23
7 | 440427 | 442003 | 1576 | 22.15 | 4 |  | 71.1512 | 313.3026 | 60 | 112
8 | 442003 | 443641 | 1638 | 22.08 | 5 |  | 74.1848 | 326.6603 | 55 | 110
9 | 443641 | 445194 | 1553 | 21.5 | 5 |  | 72.2326 | 318.064 | 62 | 112
10 | 445194 | 446712 | 1518 | 22.02 | 5 |  | 68.9373 | 303.554 | 60 | 118
11 | 446712 | 448307 | 1595 | 22.07 | 5 |  | 72.27 | 318.2291 | 64 | 118
12 | 448307 | 449841 | 1534 | 22.13 | 5 |  | 69.3177 | 305.2288 | 53 | 118
13 | 449841 | 451360 | 1519 | 21.42 | 5 |  | 70.915 | 312.2625 | 55 | 118
14 | 451360 | 453057 | 1697 | 22 | 3 |  | 77.1364 | 339.6571 | 55 | 115
15 | 453057 | 454712 | 1655 | 21.52 | 5 |  | 76.9052 | 338.6393 | 55 | 115
16 | 454712 | 456314 | 1602 | 21.58 | 5 |  | 74.2354 | 326.8832 | 60 | 110
17 | 456314 | 457910 | 1596 | 21.45 | 5 |  | 74.4056 | 327.6326 | 60 | 116
18 | 457910 | 459547 | 1637 | 21.56 | 5 |  | 75.9276 | 334.3347 | 60 | 116
19 | 459547 | 461250 | 1703 | 21.5 | 5 |  | 79.2093 | 348.785 | 60 | 110
20 | 461250 | 462906 | 1656 | 21.43 | 5 |  | 77.2748 | 340.2669 | 50 | 120
21 | 462906 | 464590 | 1684 | 22.15 | 3 |  | 76.0271 | 340.2669 | 55 | 116
22 | 464590 | 466272 | 1682 | 22.22 | 5 |  | 75.6976 | 333.3216 | 55 | 116
23 | 466272 | 467949 | 1677 | 22.03 | 5 |  | 76.1235 | 335.197 | 55 | 116
24 | 467949 | 469611 | 1662 | 22.21 | 5 |  | 74.8312 | 329.5065 | 55 | 118
25 | 469611 | 471207 | 1596 | 22.09 | 5 |  | 72.2499 | 318.1403 | 60 | 118
26 | 471207 | 472804 | 1597 | 22.01 | 5 |  | 72.5579 | 319.4967 | 60 | 116
27 | 472804 | 474439 | 1635 | 21.56 | 5 |  | 75.8349 | 333.9263 | 55 | 116
28 | 474439 | 476044 | 1605 | 22.26 | 4 |  | 72.1024 | 317.491 | 65 | 118
29 | 476044 | 477692 | 1648 | 21.58 | 5 |  | 76.367 | 336.2694 | 55 | 118
30 | 477692 | 479336 | 1644 | 22.11 | 5 |  | 74.3555 | 327.412 | 50 | 118
31 | 479336 | 480952 | 1616 | 21.58 | 5 |  | 74.8842 | 329.7399 | 60 | 118
1 | 480952 | 482642 | 1690 | 22.01 | 5 |  | 76.7833 | 338.1024 | 55 | 118
2 | 482642 | 484277 | 1635 | 22 | 5 |  | 74.3182 | 327.2477 | 60 | 116
3 | 484277 | 485898 | 1621 | 21.55 | 5 |  | 75.2204 | 331.2206 | 65 | 118
|  |  | 0 |  |  |  | #DIV/0! | #DIV/0!
Total |  |  | 49795 | 677.36 | 149 | 0 | #DIV/0! | #DIV/0! | 1794 | 3585 | 0.12 | 23
Ave. |  |  | 52.2903 | 21.8503 |  |  | 2.4265 | 323.7038 | 112.125 | 224.0625
Total Production excluding pump drain |  |  | 49795 |  |  | 0
Note on C4: Admin:

## san juan
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 2 |  | December 1-31,2019
SAN JUAN
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain |  | Flow Rate | GPM | Pressure |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | cubic | Cu.m/hr |  | lowest | highest | (hr) | (cubic)
4 | 480221 | 480939 | 718 | 16.24 | 5 | 3 | 44.2118 | 194.6794 | 22 | 80
5 | 480939 | 481666 | 727 | 16.55 | 5 | 3 | 43.9275 | 193.4274 | 28 | 60
6 | 481666 | 482430 | 764 | 16.57 | 5 | 3 | 46.1074 | 203.0264 | 26 | 66
7 | 482430 | 483235 | 805 | 16.3 | 6 | 4 | 49.3865 | 217.4652 | 20 | 60
8 | 483235 | 484065 | 830 | 16.52 | 5 | 3 | 50.2421 | 221.2328 | 20 | 58
9 | 484065 | 484862 | 797 | 17.15 | 5 | 3 | 46.4723 | 204.633 | 30 | 70
10 | 484862 | 485698 | 836 | 17.38 | 6 | 4 | 48.1013 | 211.8059 | 24 | 70
11 | 485698 | 486496 | 798 | 17.1 | 6 | 4 | 46.6667 | 205.4889 | 24 | 76
12 | 486496 | 487258 | 762 | 16.45 | 5 | 3 | 46.3222 | 203.972 | 28 | 72
13 | 487258 | 488087 | 829 | 17.09 | 8 | 6 | 48.5079 | 213.5965 | 26 | 74
14 | 488087 | 488921 | 834 | 17.09 | 8 | 6 | 48.8005 | 214.8847 | 18 | 74
15 | 488921 | 489734 | 813 | 16.28 | 5 | 3 | 49.9386 | 219.8962 | 20 | 76
16 | 489734 | 490541 | 807 | 17.45 | 5 | 3 | 46.2464 | 203.6384 | 24 | 66
17 | 490541 | 491383 | 842 | 17.42 | 9 | 7 | 48.3352 | 212.8362 | 20 | 72
18 | 491383 | 492244 | 861 | 17.41 | 8 | 6 | 49.4543 | 217.7639 | 20 | 76
19 | 492244 | 493084 | 840 | 17.32 | 7 | 5 | 48.4988 | 213.5566 | 20 | 76
20 | 493084 | 493943 | 859 | 17.32 | 9 | 7 | 49.5958 | 218.387 | 20 | 72
21 | 493943 | 494803 | 860 | 17.57 | 8 | 6 | 48.9471 | 215.5303 | 18 | 72
22 | 494803 | 495677 | 874 | 17.37 | 7 | 5 | 50.3166 | 221.5609 | 18 | 72
23 | 495677 | 496524 | 847 | 17.37 | 9 | 7 | 48.7622 | 214.7164 | 18 | 76
24 | 496524 | 497366 | 842 | 17.34 | 6 | 4 | 48.5582 | 213.8181 | 20 | 76
25 | 497366 | 498192 | 826 | 17.28 | 7 | 5 | 47.8009 | 210.4834 | 20 | 78
26 | 498192 | 499009 | 817 | 17.31 | 5 | 3 | 47.1982 | 207.8292 | 18 | 78
27 | 499009 | 499831 | 822 | 17.34 | 9 | 7 | 47.4048 | 208.7393 | 18 | 78
28 | 499831 | 500677 | 846 | 17.27 | 8 | 6 | 48.9867 | 215.7047 | 20 | 76
29 | 500677 | 501495 | 818 | 17.35 | 8 | 6 | 47.147 | 207.6038 | 18 | 74
30 | 501495 | 502293 | 798 | 17.29 | 8 | 6 | 46.1538 | 203.2308 | 20 | 74
31 | 502293 | 503123 | 830 | 17.31 | 8 | 6 | 47.9492 | 211.1361 | 20 | 76
1 | 503123 | 503970 | 847 | 17.51 | 8 | 6 | 48.3724 | 212.9996 | 20 | 76
2 | 503970 | 504824 | 854 | 17.54 | 5 | 3 | 48.6887 | 214.3926 | 20 | 76
3 | 504824 | 505664 | 840 | 17.54 | 5 | 3 | 47.8905 | 210.878 | 20 | 74
|  |  | 0 |  |  |  | #DIV/0! | #DIV/0!
Total |  |  | 25443 | 531.03 | 208 | 146 | #DIV/0! | #DIV/0! | 658 | 2254 | 0 | 0
Ave. |  |  | 848.1 | 17.13 | 3.4667 |  | #DIV/0! | 210.9749 | 21.2258 | 72.7097
Total Production excluding pump drain |  |  | 25443

## sto. rosario
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 6 |  | December 1-31,2019
STO. ROSARIO
7663
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain | Flow Rate | GPM | Pressure |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | Cu.m/hr |  | lowest | highest | (hr) | (cubic)
4 | 389070 | 389679 | 609 | 19.35 | 5 | 31.4729 | 138.5855 | 36 | 76
5 | 389679 | 390285 | 606 | 19.35 | 5 | 31.3178 | 137.9028 | 35 | 78
6 | 390285 | 390914 | 629 | 19.41 | 5 | 32.406 | 142.6943 | 36 | 78
7 | 390914 | 391597 | 683 | 19.42 | 5 | 35.1699 | 154.8649 | 25 | 80
8 | 391597 | 392263 | 666 | 19.51 | 6 | 34.1363 | 150.3137 | 22 | 68
9 | 392263 | 392932 | 669 | 19.45 | 5 | 34.3959 | 151.4566 | 36 | 76
10 | 392932 | 393619 | 687 | 18.51 | 5 | 37.1151 | 163.43 | 36 | 78
11 | 393619 | 394304 | 685 | 20.15 | 5 | 33.995 | 149.6915 | 32 | 82
12 | 394304 | 394970 | 666 | 19.47 | 6 | 34.2065 | 150.6225 | 34 | 80
13 | 394970 | 395639 | 669 | 19.55 | 5 | 34.2199 | 150.6818 | 34 | 80
14 | 395639 | 396361 | 722 | 19.51 | 5 | 37.0067 | 162.9527 | 28 | 78
15 | 396361 | 397058 | 697 | 19.46 | 5 | 35.8171 | 157.7145 | 26 | 84
16 | 397058 | 397759 | 701 | 20.4 | 5 | 34.3627 | 151.3106 | 36 | 76
17 | 397759 | 398506 | 747 | 24 | 0 | 31.125 | 137.0538 | 22 | 76
18 | 398506 | 399271 | 765 | 24 | 0 | 31.875 | 140.3562 | 30 | 76
19 | 399271 | 400042 | 771 | 24 | 0 | 32.125 | 141.4571 | 30 | 80
20 | 400042 | 400817 | 775 | 24 | 0 | 32.2917 | 142.191 | 32 | 76
21 | 400817 | 401588 | 771 | 24 | 0 | 32.125 | 141.4571 | 32 | 78
22 | 401588 | 402367 | 779 | 24 | 0 | 32.4583 | 142.9249 | 26 | 74
23 | 402367 | 403123 | 756 | 24 | 0 | 31.5 | 138.705 | 28 | 78
24 | 403123 | 403897 | 774 | 24 | 0 | 32.25 | 142.0075 | 32 | 78
25 | 403897 | 404658 | 761 | 24 | 0 | 31.7083 | 139.6224 | 22 | 76
26 | 404658 | 405423 | 765 | 24 | 0 | 31.875 | 140.3562 | 30 | 76
27 | 405423 | 406171 | 748 | 24 | 0 | 31.1667 | 137.2372 | 28 | 76
28 | 406171 | 406956 | 785 | 24 | 0 | 32.7083 | 144.0257 | 30 | 76
29 | 406956 | 407720 | 764 | 24 | 0 | 31.8333 | 140.1728 | 24 | 76
30 | 407720 | 408480 | 760 | 24 | 0 | 31.6667 | 139.4389 | 32 | 78
31 | 408480 | 409242 | 762 | 24 | 0 | 31.75 | 139.8058 | 30 | 78
1 | 409242 | 410000 | 758 | 24 | 0 | 31.5833 | 139.0719 | 30 | 78
2 | 410000 | 410789 | 789 | 24 | 0 | 32.875 | 144.7596 | 30 | 78
3 | 410789 | 411586 | 797 | 24 | 0 | 33.2083 | 146.2274 | 30 | 76
|  |  | 0 |  |  | #DIV/0! | #DIV/0!
Total |  |  | 22516 | 685.54 | 67 | #DIV/0! | #DIV/0! | 934 | 2398
Ave. |  |  |  | 0 | 0 | #DIV/0! | 144.6239 | 30.129 | 77.3548
Total Production excluding pump drain |  |  | 22516

## sto. nino
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 4 |  | December 1-31,2019
STO. NINO
9201
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain | Flow Rate | GPM | Pressure |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | Cu.m/hr |  | lowest | highest | (hr) | (cubic)
4 | 12644 | 13443 | 799 | 14.05 | 5 | 56.8683 | 250.4102 | 60 | 110
5 | 13443 | 14251 | 808 | 14.05 | 5 | 57.5089 | 253.2308 | 70 | 110
6 | 14251 | 14974 | 723 | 12.14 | 5 | 59.5552 | 262.2414 | 50 | 110
7 | 14974 | 15825 | 851 | 13.24 | 5 | 64.2749 | 283.0239 | 30 | 105
8 | 15825 | 16700 | 875 | 14.05 | 5 | 62.2776 | 274.2289 | 60 | 100
9 | 16700 | 17536 | 836 | 14.12 | 5 | 59.2068 | 260.7073 | 60 | 100
10 | 17536 | 18400 | 864 | 13.04 | 5 | 66.2577 | 291.7546 | 45 | 90
11 | 18400 | 19183 | 783 | 13.48 | 5 | 58.0861 | 255.7723 | 40 | 100
12 | 19183 | 20024 | 841 | 14.14 | 5 | 59.4767 | 261.8956 | 50 | 110
13 | 20024 | 20894 | 870 | 14.32 | 5 | 60.7542 | 267.5209 | 60 | 103
14 | 20894 | 21776 | 882 | 14.3 | 5 | 61.6783 | 271.5902 | 50 | 100
15 | 21776 | 22648 | 872 | 14.1 | 5 | 61.844 | 272.3196 | 50 | 100
16 | 22648 | 23509 | 861 | 14.05 | 5 | 61.2811 | 269.8413 | 60 | 100
17 | 23509 | 24373 | 864 | 14.15 | 5 | 61.0601 | 268.8678 | 50 | 101
18 | 24373 | 25314 | 941 | 15.25 | 5 | 61.7049 | 271.7073 | 48 | 112
19 | 25314 | 26236 | 922 | 14.56 | 5 | 63.3242 | 278.8375 | 50 | 100
20 | 26236 | 27150 | 914 | 14.55 | 5 | 62.8179 | 276.608 | 50 | 95
21 | 27150 | 28062 | 912 | 14.25 | 5 | 64 | 281.8133 | 40 | 100
22 | 28062 | 28968 | 906 | 14.45 | 5 | 62.699 | 276.0844 | 50 | 95
23 | 28968 | 29896 | 928 | 15.03 | 5 | 61.7432 | 271.8758 | 50 | 100
24 | 29896 | 30811 | 915 | 15 | 5 | 61 | 268.6033 | 55 | 100
25 | 30811 | 31736 | 925 | 15.09 | 5 | 61.2989 | 269.9194 | 50 | 104
26 | 31736 | 32639 | 903 | 14.5 | 5 | 62.2759 | 274.2214 | 50 | 102
27 | 32639 | 33557 | 918 | 15.01 | 5 | 61.1592 | 269.3045 | 50 | 100
28 | 33557 | 34518 | 961 | 15.12 | 5 | 63.5582 | 279.8679 | 35 | 102
29 | 34518 | 35435 | 917 | 15.01 | 5 | 61.0926 | 269.0111 | 50 | 101
30 | 35435 | 36351 | 916 | 15.03 | 5 | 60.9448 | 268.3602 | 50 | 101
31 | 36351 | 37268 | 917 | 14.57 | 5 | 62.9375 | 277.135 | 50 | 101
1 | 37268 | 38232 | 964 | 15.39 | 5 | 62.6381 | 275.8163 | 52 | 125
2 | 38232 | 39141 | 909 | 14.57 | 5 | 62.3885 | 274.7172 | 55 | 100
3 | 39141 | 40060 | 919 | 15.15 | 5 | 60.6601 | 267.1065 | 60 | 95
|  |  | 0 |  |  | #DIV/0! | #DIV/0!
Total |  |  | 27416 | 445.76 | 155 | #DIV/0! | #DIV/0! | 1580 | 3172
Ave. |  |  | 884.3871 | 14.3794 | 2.5833 | #DIV/0! | 270.8224 | 98.75 | 198.25
Total Production excluding pump drain |  |  | 27416

## sta. monica
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 5 |  | December 1-31,2019
STA. MONICA
15701
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain | Flow Rate | GPM | Pressure |  | Power Interruption |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | Cu.m/hr |  | lowest | highest | (hr) | (cubic) | (hr) | (cubic)
4 | 1632581 | 1634106 | 1525 | 24 |  | 63.5417 | 279.7951 | 60 | 92
5 | 1634106 | 1635626 | 1520 | 24 |  | 63.3333 | 278.8778 | 60 | 96
6 | 1635626 | 1637169 | 1543 | 24 |  | 64.2917 | 283.0976 | 62 | 94
7 | 1637169 | 1638739 | 1570 | 24 |  | 65.4167 | 288.0514 | 60 | 92
8 | 1638739 | 1640300 | 1561 | 22.36 | 4 | 69.8122 | 307.4062 | 58 | 94 |  |  | 0.59 | 75
9 | 1640300 | 1641896 | 1596 | 24 |  | 66.5 | 292.8217 | 64 | 94
10 | 1641896 | 1643535 | 1639 | 24 |  | 68.2917 | 300.711 | 60 | 92
11 | 1643535 | 1645136 | 1601 | 24 |  | 66.7083 | 293.739 | 62 | 92
12 | 1645136 | 1646692 | 1556 | 24 |  | 64.8333 | 285.4828 | 56 | 84
13 | 1646692 | 1648298 | 1606 | 24 |  | 66.9167 | 294.6564 | 60 | 92
14 | 1648298 | 1649916 | 1618 | 24 |  | 67.4167 | 296.8581 | 58 | 90
15 | 1649916 | 1651543 | 1627 | 24 |  | 67.7917 | 298.5093 | 56 | 100
16 | 1651543 | 1653126 | 1583 | 24 |  | 65.9583 | 290.4365 | 62 | 94
17 | 1653126 | 1654693 | 1567 | 24 |  | 65.2917 | 287.501 | 58 | 94
18 | 1654693 | 1656281 | 1588 | 24 |  | 66.1667 | 291.3539 | 58 | 96
19 | 1656281 | 1657859 | 1578 | 24 |  | 65.75 | 289.5192 | 60 | 96
20 | 1657859 | 1659449 | 1590 | 24 |  | 66.25 | 291.7208 | 60 | 96
21 | 1659449 | 1661033 | 1584 | 24 |  | 66 | 290.62 | 56 | 98
22 | 1661033 | 1662620 | 1587 | 24 |  | 66.125 | 291.1704 | 58 | 94
23 | 1662620 | 1664195 | 1575 | 24 |  | 65.625 | 288.9688 | 58 | 96
24 | 1664195 | 1665792 | 1597 | 24 |  | 66.5417 | 293.0051 | 58 | 96
25 | 1665792 | 1667364 | 1572 | 24 |  | 65.5 | 288.4183 | 58 | 96
26 | 1667364 | 1668896 | 1532 | 24 |  | 63.8333 | 281.0794 | 58 | 96
27 | 1668896 | 1670435 | 1539 | 23.52 |  | 65.4337 | 288.1263 | 56 | 96
28 | 1670435 | 1672007 | 1572 | 24 |  | 65.5 | 288.4183 | 56 | 96
29 | 1672007 | 1673598 | 1591 | 24 |  | 66.2917 | 291.9043 | 56 | 96
30 | 1673598 | 1675150 | 1552 | 24 |  | 64.6667 | 284.7489 | 38 | 96
31 | 1675150 | 1676698 | 1548 | 24 |  | 64.5 | 284.015 | 58 | 96
1 | 1676698 | 1678270 | 1572 | 24 |  | 65.5 | 288.4183 | 56 | 96
2 | 1678270 | 1679834 | 1564 | 24 |  | 65.1667 | 286.9506 | 58 | 96
3 | 1679834 | 1681419 | 1585 | 24 |  | 66.0417 | 290.8035 | 58 | 94
|  |  | 0 |  |  | #DIV/0! | #DIV/0!
Total |  |  | 48838 | 741.88 | 4 | 2040.9958 | 8987.185 | 1796 | 2930 |  |  | 0.59 | 75
Ave. |  |  | 1575.4194 | 23.9316 | 0.066667 | 65.8386 | 289.8717 | 57.9355 | 94.5161
Total Production excluding pump drain |  |  | 48838

## sto. tomas
BCBI-SAN LUIS BRANCH
DAILY SUMMARY PUMP OUT-PUT REPORT
PUMP NO. 3 |  | December 1-31,2019
STO. TOMAS
11834
DATE | FM rdg. | FM rdg. | Total Prod. | Total run | Drain | Flow Rate | GPM | Pressure |  | Power Interruption
| (start) | (off) | (cu.m) | (hr) | (min) | Cu.m/hr |  | lowest | highest | (hr) | (cubic)
4 | 343957 | 345063 | 1106 | 17.03 | 6 | 64.9442 | 285.971 | 30 | 70
5 | 345063 | 346177 | 1114 | 16.52 | 5 | 67.4334 | 296.9318 | 30 | 85
6 | 346177 | 347300 | 1123 | 17 | 6 | 66.0588 | 290.879 | 30 | 80
7 | 347300 | 348496 | 1196 | 17.2 | 5 | 69.5349 | 306.1853 | 25 | 90
8 | 348496 | 349624 | 1128 | 17.3 | 5 | 65.2023 | 287.1075 | 30 | 90
9 | 349624 | 350790 | 1166 | 17.3 | 5 | 67.3988 | 296.7796 | 30 | 80
10 | 350790 | 351940 | 1150 | 17.23 | 5 | 66.7441 | 293.8963 | 30 | 90
11 | 351940 | 353094 | 1154 | 17.03 | 5 | 67.7628 | 298.3821 | 30 | 70
12 | 353094 | 354197 | 1103 | 17.05 | 5 | 64.6921 | 284.8608 | 30 | 78
13 | 354197 | 355332 | 1135 | 17.03 | 6 | 66.6471 | 293.4694 | 30 | 70
14 | 355332 | 356533 | 1201 | 18.08 | 5 | 66.427 | 292.5002 | 25 | 60
15 | 356533 | 357715 | 1182 | 17.5 | 5 | 67.5429 | 297.4137 | 20 | 90
16 | 357715 | 358881 | 1166 | 18.02 | 5 | 64.7059 | 284.9216 | 30 | 80
17 | 358881 | 360078 | 1197 | 18.14 | 5 | 65.9868 | 290.5617 | 30 | 90
18 | 360078 | 361289 | 1211 | 18.12 | 5 | 66.8322 | 294.2846 | 30 | 90
19 | 361289 | 362460 | 1171 | 17.36 | 5 | 67.4539 | 297.0221 | 20 | 80
20 | 362460 | 363655 | 1195 | 17.22 | 5 | 69.3961 | 305.5739 | 25 | 70
21 | 363655 | 364823 | 1168 | 17.28 | 7 | 67.5926 | 297.6327 | 20 | 60
22 | 364823 | 366022 | 1199 | 18.08 | 7 | 66.3164 | 292.0131 | 28 | 70
23 | 366022 | 367253 | 1231 | 18.02 | 6 | 68.313 | 300.8048 | 30 | 80
24 | 367253 | 368413 | 1160 | 18.05 | 4 | 64.2659 | 282.9843 | 30 | 80
25 | 368413 | 369551 | 1138 | 17.31 | 8 | 65.7423 | 289.4855 | 30 | 80
26 | 369551 | 370735 | 1184 | 18.1 | 5 | 65.4144 | 288.0413 | 30 | 70
27 | 370735 | 371923 | 1188 | 17.48 | 7 | 67.9634 | 299.2654 | 30 | 80
28 | 371923 | 373095 | 1172 | 17.42 | 7 | 67.279 | 296.2518 | 30 | 65
29 | 373095 | 374310 | 1215 | 18.28 | 5 | 66.4661 | 292.6723 | 28 | 88
30 | 374310 | 375489 | 1179 | 17.3 | 7 | 68.1503 | 300.0884 | 30 | 80
31 | 375489 | 376668 | 1179 | 17.3 | 7 | 68.1503 | 300.0884 | 25 | 80
1 | 376668 | 377825 | 1157 | 17.41 | 8 | 66.4561 | 292.6282 | 30 | 80
2 | 377825 | 378996 | 1171 | 17.52 | 5 | 66.8379 | 294.3096 | 30 | 80
3 | 378996 | 380186 | 1190 | 17.41 | 12 | 68.3515 | 300.9745 | 30 | 80
|  |  | 0 |  |  | #DIV/0! | #DIV/0!
Total |  |  | 36229 | 542.09 | 183 | #DIV/0! | #DIV/0! | 876 | 2436 | 0 | 0
Ave. |  |  |  | 17.4868 | 3.05 | #DIV/0! | 294.2839 | 28.2581 | 78.5806
Total Production excluding pump drain |  |  | 36229

## hours (hidden)
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
22 | 22
22.03 | 22 | 03
21.56 | 21 | 56
22.15 | 22 | 15
22.08 | 22 | 08
21.5 | 21 | 5
22.02 | 22 | 02
22.07 | 22 | 07
22.13 | 22 | 13
21.42 | 21 | 42
22 | 22
21.52 | 21 | 52
21.58 | 21 | 58
21.45 | 21 | 45
21.56 | 21 | 56
21.5 | 21 | 5
21.43 | 21 | 43
22.15 | 22 | 15
22.22 | 22 | 22
22.03 | 22 | 03
22.21 | 22 | 21
22.09 | 22 | 09
21.58 | 21 | 58
22.11 | 22 | 11
21.58 | 21 | 58
22.01 | 22 | 01
22 | 22
21.55 | 21 | 55
0 | 0 |  | 720 | SAN ROQUE
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
16.24 | 16 | 24
16.55 | 16 | 55
16.57 | 16 | 57
16.3 | 16 | 3
16.52 | 16 | 52
17.15 | 17 | 15
17.38 | 17 | 38
17.1 | 17 | 1
16.45 | 16 | 45
17.09 | 17 | 09
17.09 | 17 | 09
16.28 | 16 | 28
17.45 | 17 | 45
17.42 | 17 | 42
17.41 | 17 | 41
17.32 | 17 | 32
17.32 | 17 | 32
17.57 | 17 | 57
17.37 | 17 | 37
17.37 | 17 | 37
17.34 | 17 | 34
17.28 | 17 | 28
17.35 | 17 | 35
17.29 | 17 | 29
17.31 | 17 | 31
17.51 | 17 | 51
17.54 | 17 | 54
17.54 | 17 | 54
0 | 0
|  |  | 546.55 | SAN JUAN
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
17.03 | 17 | 03
16.52 | 16 | 52
17 | 17
17.2 | 17 | 2
17.3 | 17 | 3
17.3 | 17 | 3
17.23 | 17 | 23
17.03 | 17 | 03
17.05 | 17 | 05
17.03 | 17 | 03
18.08 | 18 | 08
17.5 | 17 | 5
18.02 | 18 | 02
18.14 | 18 | 14
18.12 | 18 | 12
17.36 | 17 | 36
17.22 | 17 | 22
17.28 | 17 | 28
18.08 | 18 | 08
18.02 | 18 | 02
18.05 | 18 | 05
17.31 | 17 | 31
18.28 | 18 | 28
17.3 | 17 | 3
17.3 | 17 | 3
17.41 | 17 | 41
17.52 | 17 | 52 | 720
17.41 | 17 | 41
0 | 0
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
14.05 | 14 | 05
14.05 | 14 | 05
12.14 | 12 | 14
13.24 | 13 | 24
14.05 | 14 | 05
14.12 | 14 | 12
13.04 | 13 | 04
13.48 | 13 | 48
14.14 | 14 | 14
14.32 | 14 | 32
14.3 | 14 | 3
14.1 | 14 | 1
14.05 | 14 | 05
14.15 | 14 | 15
15.25 | 15 | 25
14.56 | 14 | 56
14.55 | 14 | 55
14.25 | 14 | 25
14.45 | 14 | 45
15.03 | 15 | 03
15 | 15
15.09 | 15 | 09
15.01 | 15 | 01
15.03 | 15 | 03
14.57 | 14 | 57
15.39 | 15 | 39
14.57 | 14 | 57
15.15 | 15 | 15
0 | 0
447.31
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
24 | 24
24 | 24
24 | 24
24 | 24
22.36 | 22 | 36
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
0 | 0 |  | 505.31
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
#REF! | #REF! | #REF!
19.35 | 19 | 35
19.35 | 19 | 35
19.41 | 19 | 41
19.42 | 19 | 42
19.51 | 19 | 51
19.45 | 19 | 45
18.51 | 18 | 51
20.15 | 20 | 15
19.47 | 19 | 47
19.55 | 19 | 55
19.51 | 19 | 51
19.46 | 19 | 46
20.4 | 20 | 4
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
24 | 24
0 | 0
609.35