## jo_findings_rm
id | jo_id | findings | action_taken
1 | 55 | elevate meter stand | elevate meter stand
2 | 53 | elevate meter stand | elevate meter stand
3 | 54 | elevate meter stand | elevate meter stand
4 | 31 | 0.26030x30=7.809 | flushing main line
5 | 24 | 0.37124x30=11.1372 | flushing main line
6 | 146 | sandy | flushing
7 | 110 | sandy | flushing
8 | 180 | niple 1/2x2 4pcs | elevate meter stand
9 | 184 | after the meter leak | inspect connection
10 | 288 | n./a | flushing interconnect
11 | 307 | mabuhangin | flushing
12 | 308 | sandy | flushing
13 | 321 | sandy | flushing
14 | 344 | buated | repair stc 2 ( 2pcs
15 | 345 | sandy | flushing
16 | 375 | sandy | flushing
17 | 387 | busted | mainline
18 | 421 | leak | repair
19 | 431 | saddle clamp leak | repair
20 | 444 | mabuhangin | flushing
21 | 465 | busted pe | repair
22 | 532 | sandy | flushing
23 | 553 | n/a | install pressure gauage
24 | 554 | n.a | interconnection
25 | 562 | n/a | interconnect
26 | 552 | n/a | interconnect
27 | 541 | n/a | pull out
28 | 555 | sandy | flushing
29 | 611 | interconnectiom | reversed flow meter snf check valve
30 | 685 | sandy | flushing
31 | 694 | busted mainline | repair
32 | 689 | n/a | interconnect
33 | 690 | n/a | interconnect
34 | 692 | b=usted | repair
35 | 686 | sandy | flushing
36 | 700 | sandy | flushing
37 | 705 | sandy | flushing
38 | 704 | sandy | flushing
39 | 703 | sandy | flushing
40 | 702 | sandy | flushing
41 | 701 | sandy | flushing
42 | 714 | n/a | hydrotest
43 | 711 | leak | repair
44 | 682 | leak | repair
45 | 748 | busted | repair
46 | 747 | busted | repair
47 | 746 | mainline | repair
48 | 789 | n/a | flushing
49 | 794 | malabo | flushing
50 | 812 | leak | repair
51 | 865 | sandy | flushing
52 | 893 | sandy | flushing mainline
53 | 909 | sandy | flushing
54 | 931 | busted pipe | repair
55 | 927 | sandy | flushing
56 | 928 | sandy and blurred | flushing
57 | 929 | blurred and sandy | flushing
58 | 941 | sandy | flushing
59 | 971 | n/a | hydro
60 | 966 | n/a | flushing
61 | 951 | sandy | mainline flushing
62 | 1022 | leak | repair
63 | 1006 | n/a | hydrotest
64 | 1035 | n/a | interconnect
65 | 1036 | hydrotest | fassed for hydro
66 | 1049 | sandy | flushing
67 | 1062 | leak | repair
68 | 1076 | leak | repair
69 | 1094 | sandy | flushing
70 | 1101 | n/a | hyrdotest
71 | 1084 | leak | repair
72 | 1097 | leak | repair
73 | 1134 | N/A | INTERCONNECTION
74 | 1135 | G-VAULT LEAKING | REPAIR
75 | 1165 | no leak | check onlu
76 | 1166 | busted | repair
77 | 1182 | sandy | flushing
78 | 1223 | BUSTED | REPAIR
79 | 1258 | busted pipe service connection | repiar
80 | 1269 | leak | repair
81 | 1282 | SANDY | FLUSHING
82 | 1281 | SANDY | FLUSHING